## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-RAD-03 - Radiasi Luar Barat [W/m²] | MB-L5-01 · L5-RAD-04 - Radiasi Luar Utara [W/m²] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Daya AC L3 · PZEM-L3-03-VOLT - PZEM L3-03 Voltage [V] | Sensor Daya AC L3 · PZEM-L3-03-CURR - PZEM L3-03 Current [A] | Sensor Daya AC L3 · PZEM-L3-03-POWER - PZEM L3-03 Active Power [W] | Sensor Daya AC L3 · PZEM-L3-03-ENERGY - PZEM L3-03 Energy [kWh] | Sensor Daya AC L3 · PZEM-L3-03-FREQ - PZEM L3-03 Frequency [Hz] | Sensor Daya AC L3 · PZEM-L3-03-PF - PZEM L3-03 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-11-08 00:00:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.4 | 71.63 | 26.3 | 72.09 | 1 | 1 | 30.7 | 25.73 | -8.6 | -6.86 | 30.67 | 30.12 | 29.23 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.67 | 24.9 | 80.82 | 24.4 | 83.38 | 1 | 1 | 24.53 | 25.21 | -32.17 | -25.13 | 25.2 | 25.43 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 10.8 | 2.51 | 50 | 0.49 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.3 | 0.07 | 0.4 | 11.91 | 50 | 0.03 | 225.2 | 0.09 | 9.6 | 14.3 | 50 | 0.46 | 225.1 | 0 | 0 | 15.79 | 50 | 0 | 225 | 0.07 | 7.6 | 2.59 | 50 | 0.5 | 225.1 | 0.07 | 0.5 | 105.37 | 50 | 0.03 | 1.13 | 22.7 | 95.6 | 909 | 225.7
2026-11-08 00:01:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.3 | 71.63 | 26.4 | 72.2 | 1 | 1 | 30.7 | 25.7 | -9.89 | -7.11 | 30.77 | 30.1 | 29.17 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 81.77 | 25 | 80.92 | 24.4 | 83.27 | 1 | 1 | 24.53 | 25.18 | -31.32 | -25.44 | 25.18 | 25.38 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.7 | 0.1 | 10.9 | 2.51 | 49.9 | 0.49 | 224.7 | 0 | 0 | 1.01 | 49.9 | 0 | 225.1 | 0.07 | 0.4 | 11.91 | 49.9 | 0.03 | 225 | 0.09 | 9.2 | 14.3 | 49.9 | 0.45 | 225.1 | 0 | 0 | 15.79 | 49.9 | 0 | 225 | 0.07 | 7.4 | 2.59 | 49.9 | 0.5 | 225 | 0.07 | 0.5 | 105.37 | 49.9 | 0.03 | 1.63 | 22.7 | 95.6 | 909 | 226.8
2026-11-08 00:02:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 72.09 | 26.3 | 71.52 | 26.4 | 72.2 | 1 | 0 | 30.78 | 25.72 | -8.94 | -7.3 | 30.75 | 30.12 | 29.17 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.77 | 24.9 | 80.82 | 24.4 | 83.17 | 1 | 1 | 24.58 | 25.2 | -30.97 | -25.73 | 25.26 | 25.46 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.7 | 0.1 | 10.8 | 2.51 | 49.9 | 0.49 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225.1 | 0.07 | 0.4 | 11.91 | 49.9 | 0.03 | 225 | 0.09 | 9.3 | 14.3 | 49.9 | 0.45 | 225.1 | 0 | 0 | 15.79 | 49.9 | 0 | 224.9 | 0.07 | 7.3 | 2.59 | 49.9 | 0.49 | 224.9 | 0.07 | 0.4 | 105.37 | 49.9 | 0.03 | 1.39 | 22.7 | 95.5 | 909 | 204.3
2026-11-08 00:03:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.2 | 26.3 | 71.52 | 26.4 | 72.2 | 1 | 0 | 30.81 | 25.8 | -8.69 | -7.33 | 30.68 | 30.16 | 29.19 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.67 | 25 | 80.71 | 24.5 | 83.06 | 1 | 1 | 24.63 | 25.23 | -31.52 | -25.3 | 25.25 | 25.48 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.7 | 0.1 | 10.8 | 2.51 | 49.9 | 0.49 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225 | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225 | 0.09 | 9.6 | 14.3 | 49.9 | 0.45 | 225.1 | 0 | 0 | 15.79 | 49.9 | 0 | 225 | 0.07 | 7.4 | 2.59 | 49.9 | 0.5 | 225 | 0.07 | 0 | 105.37 | 50 | 0 | 0.38 | 22.7 | 95.3 | 909 | 247.5
2026-11-08 00:04:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.3 | 71.52 | 26.4 | 72.2 | 1 | 0 | 30.74 | 25.7 | -8.82 | -6.71 | 30.7 | 30.12 | 29.24 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.77 | 25 | 80.71 | 24.4 | 83.06 | 1 | 1 | 24.72 | 25.25 | -30.67 | -25.41 | 25.2 | 25.46 | 25.32 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 11 | 2.51 | 50 | 0.5 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.2 | 0.07 | 0.4 | 11.91 | 50 | 0.03 | 225.2 | 0.09 | 9.4 | 14.3 | 50 | 0.45 | 225.2 | 0 | 0 | 15.79 | 50 | 0 | 225.1 | 0.07 | 7.4 | 2.59 | 50 | 0.49 | 225.1 | 0.07 | 0 | 105.37 | 50 | 0 | 0.36 | 22.7 | 95.2 | 909 | 258.9
2026-11-08 00:05:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.4 | 71.51 | 26.4 | 72.2 | 1 | 0 | 30.77 | 25.74 | -8.09 | -7.3 | 30.73 | 30.15 | 29.24 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.56 | 24.9 | 80.71 | 24.4 | 82.96 | 1 | 1 | 24.65 | 25.28 | -30.97 | -25.15 | 25.36 | 25.48 | 25.38 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.7 | 0.1 | 10.9 | 2.51 | 49.9 | 0.49 | 224.8 | 0 | 0 | 1.01 | 50 | 0 | 225.2 | 0.07 | 0.4 | 11.91 | 49.9 | 0.03 | 225.1 | 0.1 | 9.7 | 14.3 | 50 | 0.45 | 225 | 0 | 0 | 15.79 | 50 | 0 | 225 | 0.07 | 7.3 | 2.59 | 49.9 | 0.48 | 225 | 0.07 | 0.4 | 105.37 | 50 | 0.03 | 1.13 | 22.7 | 94.9 | 909 | 274.9
2026-11-08 00:06:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 71.96 | 26.3 | 71.52 | 26.4 | 72.2 | 1 | 1 | 30.72 | 25.7 | -8.6 | -7.3 | 30.79 | 29.99 | 29.23 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.46 | 25 | 80.71 | 24.5 | 82.63 | 1 | 1 | 24.56 | 25.26 | -31.44 | -24.92 | 25.27 | 25.44 | 25.3 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.8 | 0.1 | 10.9 | 2.51 | 49.9 | 0.48 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225.1 | 0.07 | 0.4 | 11.91 | 49.9 | 0.03 | 225.1 | 0.1 | 9.6 | 14.3 | 49.9 | 0.44 | 225 | 0 | 0 | 15.79 | 49.9 | 0 | 225 | 0.07 | 7.4 | 2.59 | 49.9 | 0.49 | 225.1 | 0.07 | 0.4 | 105.37 | 49.9 | 0.03 | 1.37 | 22.7 | 94.8 | 909 | 277.9
2026-11-08 00:07:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 72.09 | 26.3 | 71.63 | 26.4 | 72.2 | 1 | 0 | 30.74 | 25.77 | -8.34 | -6.93 | 30.73 | 30.16 | 29.19 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.46 | 25 | 80.6 | 24.5 | 82.74 | 1 | 1 | 24.65 | 25.2 | -30.97 | -25.44 | 25.41 | 25.49 | 25.36 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 | 1 | 1 | 225.8 | 0.1 | 10.9 | 2.51 | 49.9 | 0.49 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225.1 | 0.07 | 0.5 | 11.91 | 49.9 | 0.03 | 225 | 0.09 | 9.4 | 14.3 | 49.9 | 0.44 | 225 | 0 | 0 | 15.79 | 49.9 | 0 | 225 | 0.07 | 7.5 | 2.59 | 50 | 0.49 | 224.9 | 0.07 | 0 | 105.37 | 49.9 | 0 | 1.12 | 22.7 | 94.7 | 909 | 227.6
2026-11-08 00:08:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.2 | 26.3 | 71.63 | 26.3 | 72.2 | 1 | 0 | 30.84 | 25.74 | -8.25 | -7.51 | 30.67 | 30.1 | 29.16 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 81.45 | 25 | 80.49 | 24.5 | 82.63 | 1 | 1 | 24.6 | 25.25 | -31.61 | -25.47 | 25.34 | 25.49 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 10.8 | 2.51 | 50 | 0.48 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.3 | 0.07 | 0.4 | 11.91 | 50 | 0.03 | 225.2 | 0.1 | 9.9 | 14.3 | 50 | 0.45 | 225.2 | 0 | 0 | 15.79 | 50 | 0 | 225.1 | 0.07 | 7.6 | 2.59 | 49.9 | 0.49 | 225.2 | 0.06 | 0.5 | 105.37 | 49.9 | 0.03 | 0.14 | 22.7 | 94.7 | 909 | 222
2026-11-08 00:09:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 71.96 | 26.3 | 71.63 | 26.4 | 72.31 | 1 | 1 | 30.78 | 25.75 | -8.94 | -6.89 | 30.61 | 30.01 | 29.21 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.4 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.46 | 25 | 80.49 | 24.5 | 82.53 | 1 | 1 | 24.76 | 25.16 | -30.64 | -25.24 | 25.38 | 25.56 | 25.23 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.8 | 0.1 | 10.9 | 2.51 | 50 | 0.49 | 224.8 | 0 | 0 | 1.01 | 50 | 0 | 225.2 | 0.07 | 0.4 | 11.91 | 50 | 0.03 | 225.1 | 0.1 | 9.5 | 14.3 | 50 | 0.44 | 225.1 | 0 | 0 | 15.79 | 50 | 0 | 225 | 0.07 | 7.3 | 2.59 | 50 | 0.49 | 225.1 | 0.07 | 0.4 | 105.37 | 50 | 0.03 | 1.14 | 22.8 | 94.6 | 909 | 306.9
2026-11-08 00:10:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 71.96 | 26.2 | 71.64 | 26.4 | 72.31 | 1 | 0 | 30.79 | 25.7 | -8.6 | -7.14 | 30.73 | 30.1 | 29.17 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 81.24 | 25 | 80.39 | 24.6 | 82.52 | 1 | 1 | 24.71 | 25.26 | -31.17 | -25.07 | 25.32 | 25.5 | 25.28 | 0 | 0.1 | 0 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 10.8 | 2.51 | 50 | 0.48 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225.3 | 0.07 | 0.4 | 11.91 | 50 | 0.03 | 225.1 | 0.1 | 9.7 | 14.3 | 50 | 0.44 | 225.3 | 0 | 0 | 15.79 | 50 | 0 | 225.1 | 0.07 | 7.5 | 2.59 | 50 | 0.48 | 225.1 | 0.07 | 0.4 | 105.37 | 50 | 0.03 | 2.39 | 22.8 | 94.5 | 909 | 276.4
2026-11-08 00:11:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 71.96 | 26.3 | 71.63 | 26.3 | 72.32 | 1 | 0 | 30.8 | 25.77 | -8.94 | -6.46 | 30.67 | 30.12 | 29.12 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.35 | 25 | 80.49 | 24.5 | 82.63 | 1 | 1 | 24.8 | 25.25 | -30.64 | -24.81 | 25.3 | 25.44 | 25.28 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.8 | 0.1 | 10.8 | 2.51 | 50 | 0.48 | 224.8 | 0 | 0 | 1.01 | 49.9 | 0 | 225.2 | 0.07 | 0.6 | 11.91 | 50 | 0.04 | 225.1 | 0.09 | 9.2 | 14.3 | 49.9 | 0.44 | 225.1 | 0 | 0 | 15.79 | 49.9 | 0 | 225 | 0.07 | 7.5 | 2.59 | 49.9 | 0.49 | 225.1 | 0.07 | 0 | 105.37 | 49.9 | 0 | 2.85 | 22.8 | 94.6 | 909 | 231.4
2026-11-08 00:12:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.3 | 71.52 | 26.4 | 72.31 | 1 | 1 | 30.79 | 25.7 | -8.31 | -6.61 | 30.7 | 30.09 | 29.23 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 81.24 | 24.9 | 80.5 | 24.5 | 82.53 | 1 | 1 | 24.73 | 25.21 | -30.81 | -25.07 | 25.37 | 25.45 | 25.27 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0 | 1 | 1 | 226 | 0.1 | 10.9 | 2.51 | 50 | 0.49 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.2 | 0.07 | 0.5 | 11.91 | 50 | 0.03 | 225.4 | 0.09 | 9.2 | 14.3 | 50 | 0.44 | 225.2 | 0 | 0 | 15.79 | 49.9 | 0 | 225.1 | 0.07 | 7.5 | 2.59 | 50 | 0.49 | 225.2 | 0.07 | 0 | 105.37 | 50 | 0 | 1.14 | 22.7 | 94.8 | 909 | 258.1
2026-11-08 00:13:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 72.09 | 26.3 | 71.63 | 26.4 | 72.31 | 1 | 0 | 30.83 | 25.77 | -8.79 | -6.83 | 30.75 | 30.09 | 29.14 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.35 | 25 | 80.28 | 24.6 | 82.63 | 1 | 1 | 24.64 | 25.19 | -31.22 | -25.24 | 25.34 | 25.45 | 25.31 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 226 | 0.1 | 10.9 | 2.51 | 50 | 0.49 | 225 | 0 | 0 | 1.01 | 50 | 0 | 225.3 | 0.07 | 0.6 | 11.91 | 50 | 0.04 | 225.4 | 0.09 | 9.4 | 14.3 | 50 | 0.44 | 225.3 | 0 | 0 | 15.79 | 50 | 0 | 225.3 | 0.07 | 7.4 | 2.59 | 50 | 0.49 | 225.3 | 0.07 | 0.5 | 105.37 | 50 | 0.03 | 1.63 | 22.7 | 94.7 | 909 | 203.2
2026-11-08 00:14:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.4 | 72.08 | 26.3 | 71.52 | 26.4 | 72.2 | 1 | 1 | 30.81 | 25.74 | -8.53 | -6.89 | 30.74 | 30.09 | 29.17 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.8 | 81.35 | 25 | 80.39 | 24.6 | 82.52 | 1 | 1 | 24.54 | 25.25 | -30.4 | -25.07 | 25.43 | 25.55 | 25.44 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 10.8 | 2.51 | 49.9 | 0.48 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.3 | 0.07 | 0.6 | 11.91 | 49.9 | 0.04 | 225.2 | 0.1 | 9.6 | 14.3 | 50 | 0.44 | 225.3 | 0 | 0 | 15.79 | 49.9 | 0 | 225.1 | 0.07 | 7.4 | 2.59 | 49.9 | 0.48 | 225.3 | 0.07 | 0.4 | 105.37 | 50 | 0.03 | 0.88 | 22.8 | 94.8 | 909 | 229.3
2026-11-08 00:15:00 | 0 | 26 | 1 | 0 | 78.5 | 89 | 88.5 | 89 | 87 | 89 | 89 | 90 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 26.3 | 71.97 | 26.3 | 71.52 | 26.3 | 72.32 | 1 | 1 | 30.79 | 25.77 | -8.06 | -8.23 | 30.72 | 30.1 | 29.12 | 0.3 | 0.3 | 0.3 | 0.2 | 0.4 | 0.5 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 24.9 | 81.35 | 24.9 | 80.39 | 24.6 | 82.52 | 1 | 1 | 24.73 | 25.3 | -30.73 | -25.01 | 25.34 | 25.59 | 25.36 | 0 | 0.1 | 0.1 | 0.1 | 0.1 | 0.1 | 1 | 1 | 225.9 | 0.1 | 10.9 | 2.51 | 49.9 | 0.49 | 224.9 | 0 | 0 | 1.01 | 50 | 0 | 225.2 | 0.07 | 0.4 | 11.91 | 49.9 | 0.03 | 225.2 | 0.1 | 9.5 | 14.3 | 49.9 | 0.44 | 225.2 | 0 | 0 | 15.79 | 49.9 | 0 | 225.2 | 0.07 | 7.4 | 2.59 | 50 | 0.49 | [6 empty] | 0.64 | 22.8 | 94.8 | 909 | 195.4

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-11-08 00:00:00 | To | 2026-11-08 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 0 | 0 | 0 | 16
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 16
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 16
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 16
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 78.5 | 78.5 | 78.5 | 16
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 16
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 88.5 | 88.5 | 88.5 | 16
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89 | 89 | 89 | 16
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 87 | 87 | 87 | 16
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89 | 89 | 89 | 16
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 16
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 90 | 90 | 90 | 16
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 16
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 16
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 16
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C | 26.3 | 26.38 | 26.4 | 16
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH | 71.96 | 72.06 | 72.2 | 16
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C | 26.2 | 26.31 | 26.4 | 16
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH | 71.51 | 71.58 | 71.64 | 16
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C | 26.3 | 26.38 | 26.4 | 16
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH | 72.09 | 72.23 | 72.32 | 16
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 16
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m² | 0 | 0.44 | 1 | 16
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 30.7 | 30.77 | 30.84 | 16
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 25.7 | 25.74 | 25.8 | 16
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -9.89 | -8.65 | -8.06 | 16
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -8.23 | -7.09 | -6.46 | 16
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 30.61 | 30.71 | 30.79 | 16
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 29.99 | 30.1 | 30.16 | 16
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 29.12 | 29.19 | 29.24 | 16
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux | 0.3 | 0.3 | 0.3 | 16
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux | 0.3 | 0.3 | 0.3 | 16
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux | 0.3 | 0.3 | 0.3 | 16
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux | 0.2 | 0.2 | 0.2 | 16
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux | 0.4 | 0.4 | 0.4 | 16
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux | 0.4 | 0.44 | 0.5 | 16
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 16
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 24.8 | 24.83 | 24.9 | 16
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 81.24 | 81.49 | 81.77 | 16
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 24.9 | 24.97 | 25 | 16
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 80.28 | 80.59 | 80.92 | 16
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 24.4 | 24.49 | 24.6 | 16
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 82.52 | 82.8 | 83.38 | 16
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 16
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 16
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.53 | 24.65 | 24.8 | 16
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 25.16 | 25.23 | 25.3 | 16
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -32.17 | -31.08 | -30.4 | 16
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -25.73 | -25.22 | -24.81 | 16
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 25.18 | 25.31 | 25.43 | 16
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 25.38 | 25.48 | 25.59 | 16
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 25.23 | 25.32 | 25.44 | 16
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 16
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0.1 | 0.1 | 0.1 | 16
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.09 | 0.1 | 16
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0.09 | 0.1 | 16
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 16
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.09 | 0.1 | 16
MB-L5-01 | L5-RAD-03 | Radiasi Luar Barat | W/m² | 1 | 1 | 1 | 16
MB-L5-01 | L5-RAD-04 | Radiasi Luar Utara | W/m² | 1 | 1 | 1 | 16
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 225.7 | 225.84 | 226 | 16
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.1 | 0.1 | 0.1 | 16
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.8 | 10.86 | 11 | 16
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 2.51 | 2.51 | 2.51 | 16
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.95 | 50 | 16
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.48 | 0.49 | 0.5 | 16
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 224.7 | 224.84 | 225 | 16
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 16
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 16
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 1.01 | 1.01 | 1.01 | 16
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.96 | 50 | 16
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 16
Sensor Daya AC L3 | PZEM-L3-03-VOLT | PZEM L3-03 Voltage | V | 225 | 225.19 | 225.3 | 16
Sensor Daya AC L3 | PZEM-L3-03-CURR | PZEM L3-03 Current | A | 0.07 | 0.07 | 0.07 | 16
Sensor Daya AC L3 | PZEM-L3-03-POWER | PZEM L3-03 Active Power | W | 0.4 | 0.46 | 0.6 | 16
Sensor Daya AC L3 | PZEM-L3-03-ENERGY | PZEM L3-03 Energy | kWh | 11.91 | 11.91 | 11.91 | 16
Sensor Daya AC L3 | PZEM-L3-03-FREQ | PZEM L3-03 Frequency | Hz | 49.9 | 49.95 | 50 | 16
Sensor Daya AC L3 | PZEM-L3-03-PF | PZEM L3-03 Power Factor |  | 0.03 | 0.03 | 0.04 | 16
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 225 | 225.14 | 225.4 | 16
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.09 | 0.09 | 0.1 | 16
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.2 | 9.49 | 9.9 | 16
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 14.3 | 14.3 | 14.3 | 16
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.96 | 50 | 16
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.44 | 0.45 | 0.46 | 16
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 225 | 225.14 | 225.3 | 16
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 16
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 16
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 15.79 | 15.79 | 15.79 | 16
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.94 | 50 | 16
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 16
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V | 224.9 | 225.06 | 225.3 | 16
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0.07 | 0.07 | 0.07 | 16
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 7.3 | 7.43 | 7.6 | 16
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 2.59 | 2.59 | 2.59 | 16
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 49.9 | 49.95 | 50 | 16
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0.48 | 0.49 | 0.5 | 16
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 224.9 | 225.09 | 225.3 | 15
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0.06 | 0.06 | 0.07 | 15
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0.29 | 0.5 | 15
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 105.37 | 105.37 | 105.37 | 15
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.96 | 50 | 15
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0.02 | 0.03 | 15
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.14 | 1.21 | 2.85 | 16
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 22.7 | 22.73 | 22.8 | 16
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 94.5 | 94.94 | 95.6 | 16
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 909 | 909 | 909 | 16
WS-MOD-01 | WS-DIR | Arah Angin | ° | 195.4 | 241.64 | 306.9 | 16

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.