## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-RAD-03 - Radiasi Luar Barat [W/m²] | MB-L5-01 · L5-RAD-04 - Radiasi Luar Utara [W/m²] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-16 00:00:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.4 | 23.05 | -4.6 | -9.38 | 25.45 | 25.72 | 25.03 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 65.9 | 24.2 | 62.69 | 23.6 | 64.19 | 1 | 1 | 23.55 | 23.05 | -30.85 | -32.84 | 24.33 | 24.6 | 23.81 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.2 | 10.08 | 50 | 0.44 | 224.3 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.6 | 9.09 | 50 | 0.4 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 4.62 | 21.1 | 77.6 | 908 | 21.8
2026-10-16 00:01:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 22.91 | -4.45 | -9.29 | 25.41 | 25.84 | 24.98 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 65.9 | 24 | 62.8 | 23.6 | 64.19 | 1 | 1 | 23.48 | 23.05 | -31.17 | -32.2 | 24.34 | 24.49 | 23.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.2 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.11 | 9.9 | 9.09 | 50 | 0.4 | 224.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 50 | 0 | 2.38 | 21.1 | 77.6 | 908 | 54.5
2026-10-16 00:02:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 22.92 | -4.38 | -9.32 | 25.34 | 25.63 | 25.02 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.01 | 24.1 | 62.69 | 23.6 | 64.3 | 1 | 1 | 23.51 | 22.99 | -30.2 | -32.27 | 24.37 | 24.56 | 23.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.2 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.1 | 9.2 | 9.09 | 50 | 0.39 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.11 | 50 | 0 | 3.85 | 21.1 | 77.6 | 908 | 41.2
2026-10-16 00:03:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.36 | 22.94 | -4.26 | -9.19 | 25.43 | 25.74 | 25.02 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.11 | 24 | 62.8 | 23.6 | 64.4 | 1 | 1 | 23.5 | 23.05 | -30.61 | -32.01 | 24.3 | 24.49 | 23.81 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.2 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.1 | 9.1 | 9.09 | 50 | 0.39 | 224.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.11 | 50 | 0 | 3.12 | 21.2 | 77.6 | 908 | 65.4
2026-10-16 00:04:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.38 | 23.05 | -4.63 | -9.41 | 25.43 | 25.7 | 24.96 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.22 | 24 | 63.01 | 23.6 | 64.62 | 1 | 1 | 23.66 | 23.02 | -31.05 | -31.55 | 24.37 | 24.51 | 23.77 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.2 | 10.08 | 50 | 0.44 | 224.2 | 0 | 0 | 0.93 | 50 | 0 | 224.4 | 0.1 | 9.1 | 9.09 | 50 | 0.39 | 224.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 4.61 | 21.2 | 77.6 | 908 | 3.7
2026-10-16 00:05:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.37 | 23.09 | -4.85 | -10.18 | 25.39 | 25.67 | 24.84 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.11 | 24 | 63.01 | 23.6 | 64.62 | 1 | 1 | 23.42 | 22.99 | -30.09 | -32.44 | 24.34 | 24.53 | 23.77 | 0 | 0 | 0 | 0 | 0.1 | 0.1 |  |  | 224.2 | 0.11 | 11.3 | 10.08 | 50 | 0.45 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.11 | 9.6 | 9.09 | 50 | 0.4 | 224.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 3.6 | 21.2 | 77.7 | 908 | 13.7
2026-10-16 00:06:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 23.03 | -4.42 | -9.04 | 25.48 | 25.72 | 25.03 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.22 | 23.9 | 63.12 | 23.5 | 64.62 | 1 | 1 | 23.48 | 22.99 | -30.94 | -31.35 | 24.3 | 24.54 | 23.86 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.2 | 10.08 | 50 | 0.44 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.4 | 0.1 | 9.1 | 9.09 | 50 | 0.39 | 224.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 4.12 | 21.2 | 77.7 | 908 | 38.8
2026-10-16 00:07:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.4 | 22.99 | -4.23 | -8.98 | 25.39 | 25.64 | 24.92 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.22 | 23.9 | 63.23 | 23.5 | 64.72 | 1 | 1 | 23.55 | 23.01 | -31.14 | -31.95 | 24.31 | 24.53 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11 | 10.08 | 50 | 0.43 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.11 | 9.6 | 9.09 | 50 | 0.39 | 224.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 3.35 | 21.3 | 77.4 | 908 | 30.9
2026-10-16 00:08:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.36 | 23.01 | -5.17 | -8.98 | 25.49 | 25.8 | 24.98 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.32 | 24 | 63.12 | 23.5 | 64.83 | 1 | 1 | 23.46 | 23.07 | -30.61 | -31.49 | 24.29 | 24.45 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.2 | 0.11 | 11.1 | 10.08 | 50 | 0.45 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.11 | 9.3 | 9.09 | 50 | 0.39 | 224.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224 | 0 | 0 | 5.11 | 50 | 0 | 3.58 | 21.3 | 77.3 | 908 | 4.1
2026-10-16 00:09:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.27 | 23.08 | -4.07 | -9.22 | 25.52 | 25.8 | 24.98 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.43 | 24 | 63.22 | 23.6 | 64.83 | 1 | 1 | 23.55 | 23.05 | -30.9 | -31.35 | 24.31 | 24.48 | 23.8 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.1 | 10.08 | 50 | 0.45 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.3 | 0.11 | 9.5 | 9.09 | 50 | 0.4 | 224.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.1 | 0 | 0 | 5.11 | 50 | 0 | 2.86 | 21.3 | 77.4 | 908 | 60.1
2026-10-16 00:10:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.24 | 22.99 | -4.54 | -9.62 | 25.46 | 25.75 | 25.01 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.54 | 24 | 63.22 | 23.5 | 65.04 | 1 | 1 | 23.42 | 23.05 | -31.52 | -32.01 | 24.16 | 24.49 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11 | 10.08 | 50 | 0.44 | 224.2 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.5 | 9.09 | 50 | 0.4 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 2.86 | 21.2 | 77.7 | 908 | 27.8
2026-10-16 00:11:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 22.98 | -5.04 | -8.86 | 25.37 | 25.79 | 25.02 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.43 | 24 | 63.33 | 23.5 | 65.04 | 1 | 1 | 23.58 | 23.05 | -30.64 | -34 | 24.34 | 24.46 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.2 | 0.11 | 11 | 10.08 | 50 | 0.44 | 224 | 0 | 0 | 0.93 | 50 | 0 | 224.3 | 0.1 | 8.9 | 9.09 | 50 | 0.39 | 224.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 50 | 0 | 1.88 | 21.2 | 77.9 | 908 | 50
2026-10-16 00:12:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 22.89 | -4.79 | -8.7 | 25.43 | 25.77 | 24.94 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.43 | 23.9 | 63.23 | 23.5 | 64.94 | 1 | 1 | 23.53 | 23.09 | -30.38 | -33.07 | 24.38 | 24.45 | 23.8 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.2 | 0.11 | 11 | 10.08 | 49.9 | 0.43 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.2 | 0.11 | 9.7 | 9.09 | 49.9 | 0.39 | 224.1 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224 | 0 | 0 | 5.11 | 49.9 | 0 | 3.61 | 21.1 | 78 | 908 | 70.5
2026-10-16 00:13:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 22.98 | -4.85 | -9.32 | 25.45 | 25.77 | 24.94 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.43 | 24 | 63.44 | 23.6 | 64.93 | 1 | 1 | 23.42 | 23.01 | -31.29 | -32.75 | 24.33 | 24.54 | 23.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.1 | 10.08 | 50 | 0.43 | 224.1 | 0 | 0 | 0.93 | 49.9 | 0 | 224.3 | 0.11 | 9.9 | 9.09 | 50 | 0.4 | 224.3 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 49.9 | 0 | 3.36 | 21.1 | 78.1 | 908 | 49.5
2026-10-16 00:14:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 23.07 | -4.92 | -9.19 | 25.41 | 25.8 | 24.96 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.32 | 24 | 63.33 | 23.7 | 64.93 | 1 | 1 | 23.55 | 23.05 | -30.85 | -32.12 | 24.3 | 24.46 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.3 | 10.08 | 50 | 0.44 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | [6 empty] | 224.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.1 | 0 | 0 | 5.11 | 50 | 0 | 3.59 | 21.2 | 78.2 | 908 | 39.9
2026-10-16 00:15:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.37 | 22.94 | -5.04 | -9.53 | 25.49 | 25.8 | 25 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.43 | 24 | 63.33 | 23.5 | 64.94 | 1 | 1 | 23.48 | 22.99 | -31.38 | -32.27 | 24.44 | 24.6 | 23.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.2 | 10.08 | 50 | 0.44 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.5 | 0.11 | 9.7 | 9.09 | 50 | 0.39 | 224.3 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 3.1 | 21.2 | 78.2 | 908 | 51.4
2026-10-16 00:16:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.45 | 23.03 | -4.79 | -9.71 | 25.36 | 25.72 | 24.98 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 23.9 | 63.55 | 23.5 | 65.04 | 1 | 1 | 23.73 | 23.09 | -30.61 | -32.35 | 24.34 | 24.45 | 23.77 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 |  |  | 224.3 | 0.11 | 11.3 | 10.08 | 50 | 0.44 | 224.1 | 0 | 0 | 0.93 | 50 | 0 | 224.4 | 0.11 | 9.8 | 9.09 | 49.9 | 0.4 | 224.4 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 49.9 | 0 | 1.6 | 21.2 | 78 | 908 | 31.6
2026-10-16 00:17:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.48 | 22.96 | -5.29 | -9.16 | 25.38 | 25.77 | 24.92 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.32 | 24 | 63.54 | 23.6 | 64.93 | 1 | 1 | 23.57 | 22.92 | -31.17 | -32.72 | 24.31 | 24.54 | 23.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.6 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.5 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.11 | 9.6 | 9.09 | 50 | 0.39 | 224.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.11 | 50 | 0 | 1.89 | 21.1 | 78.1 | 908 | 61.5
2026-10-16 00:18:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.46 | 22.91 | -4.88 | -8.49 | 25.39 | 25.7 | 24.83 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.33 | 24 | 63.54 | 23.6 | 64.83 | 1 | 1 | 23.61 | 23.03 | -31.03 | -33.21 | 24.41 | 24.55 | 23.79 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.5 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.3 | 0 | 0 | 0.93 | 49.9 | 0 | 224.6 | 0.11 | 9.8 | 9.09 | 50 | 0.39 | 224.4 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.2 | 0 | 0 | 5.11 | 50 | 0 | 1.61 | 21.2 | 78.2 | 908 | 38.2
2026-10-16 00:19:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.35 | 22.91 | -4.85 | -9.44 | 25.27 | 25.66 | 24.87 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.54 | 24 | 63.54 | 23.6 | 64.93 | 1 | 1 | 23.57 | 23.01 | -31.03 | -32.92 | 24.48 | 24.51 | 23.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.3 | 10.08 | 49.9 | 0.45 | 224.2 | 0 | 0 | 0.93 | 49.9 | 0 | 224.6 | 0.11 | 9.7 | 9.09 | 50 | 0.4 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.11 | 50 | 0 | 2.87 | 21.1 | 78.3 | 908 | 10.9
2026-10-16 00:20:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.42 | 22.98 | -4.6 | -8.67 | 25.41 | 25.56 | 24.94 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.43 | 23.9 | 63.65 | 23.6 | 64.93 | 1 | 1 | 23.42 | 22.98 | -31.52 | -32.38 | 24.46 | 24.52 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.6 | 0.11 | 11 | 10.08 | 50 | 0.44 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.11 | 9.8 | 9.09 | 50 | 0.4 | 224.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 50 | 0 | 2.87 | 21.1 | 78.3 | 908 | 55.3
2026-10-16 00:21:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.46 | 22.99 | -4.82 | -9.19 | 25.32 | 25.59 | 24.77 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.65 | 24 | 63.65 | 23.7 | 64.93 | 1 | 1 | 23.51 | 23.01 | -31.29 | -33.01 | 24.37 | 24.59 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.7 | 0.11 | 11.3 | 10.08 | 50 | 0.45 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 224.8 | 0.1 | 9 | 9.09 | 50 | 0.38 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 5.11 | 50 | 0 | 3.1 | 21.1 | 78.5 | 908 | 56.3
2026-10-16 00:22:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.46 | 22.92 | -5.35 | -8.46 | 25.26 | 25.63 | 24.73 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.54 | 23.7 | 64.83 | 1 | 1 | 23.42 | 22.98 | -30.85 | -33.09 | 24.47 | 24.45 | 23.8 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 |  |  | 224.4 | 0.11 | 11.1 | 10.08 | 49.9 | 0.43 | 224.3 | 0 | 0 | 0.93 | 49.9 | 0 | 224.7 | 0.11 | 9.1 | 9.09 | 50 | 0.38 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 49.9 | 0 | 1.12 | 21.1 | 78.5 | 908 | 34.1
2026-10-16 00:23:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.51 | 23.01 | -5.13 | -9.25 | 25.34 | 25.56 | 24.73 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 23.9 | 63.55 | 23.6 | 64.83 | 1 | 1 | 23.53 | 22.98 | -31.61 | -33.06 | 24.46 | 24.51 | 23.81 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 |  |  | 224.5 | 0.11 | 11 | 10.08 | 50 | 0.44 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.7 | 9.09 | 50 | 0.39 | 224.6 | 0 | 0 | 11.38 | 50 | 0 | [6 empty] | 224.5 | 0 | 0 | 5.11 | 50 | 0 | 1.87 | 21.1 | 78.6 | 908 | 52.4
2026-10-16 00:24:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.58 | 22.98 | -5.38 | -8.79 | 25.26 | 25.45 | 24.63 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.54 | 23.7 | 64.72 | 1 | 1 | 23.55 | 23.01 | -31.02 | -33.09 | 24.46 | 24.52 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.5 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.3 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.4 | 9.09 | 50 | 0.39 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 50 | 0 | 2.61 | 21 | 78.6 | 908 | 31.3
2026-10-16 00:25:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.51 | 22.94 | -5.2 | -9.16 | 25.32 | 25.61 | 24.69 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.54 | 23.7 | 64.83 | 1 | 1 | 23.55 | 23.02 | -30.94 | -33.26 | 24.41 | 24.63 | 23.8 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.5 | 0.11 | 11 | 10.08 | 50 | 0.43 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.3 | 9.09 | 50 | 0.39 | 224.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.11 | 50 | 0 | 2.62 | 21 | 78.7 | 908 | 61.7
2026-10-16 00:26:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.47 | 22.98 | -5.1 | -8.79 | 25.32 | 25.41 | 24.76 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24 | 63.76 | 23.7 | 64.83 | 1 | 1 | 23.62 | 23.05 | -31.14 | -34.15 | 24.47 | 24.54 | 23.79 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.5 | 0.11 | 11 | 10.08 | 50 | 0.43 | 224.5 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.11 | 9.6 | 9.09 | 50 | 0.4 | 224.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.11 | 50 | 0 | 1.13 | 21.1 | 78.7 | 908 | 6.4
2026-10-16 00:27:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.49 | 22.98 | -5.42 | -8.7 | 25.18 | 25.63 | 24.77 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.65 | 23.7 | 64.83 | 1 | 1 | 23.53 | 23.02 | -30.84 | -33.43 | 24.45 | 24.6 | 23.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 |  |  | 224.6 | 0.11 | 11.2 | 10.08 | 50 | 0.44 | 224.4 | 0 | 0 | 0.93 | 49.9 | 0 | 224.7 | 0.11 | 9.6 | 9.09 | 50 | 0.4 | 224.5 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 49.9 | 0 | 1.62 | 21 | 78.8 | 908 | 31.6
2026-10-16 00:28:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.48 | 22.91 | -5.29 | -9.16 | 25.27 | 25.62 | 24.83 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24 | 63.65 | 23.8 | 64.82 | 1 | 1 | 23.48 | 23.05 | -31.08 | -32.86 | 24.44 | 24.54 | 23.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.5 | 0.11 | 11.3 | 10.08 | 50 | 0.44 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.11 | 9.3 | 9.09 | 49.9 | 0.39 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.3 | 0 | 0 | 5.11 | 50 | 0 | 1.38 | 21 | 78.9 | 908 | 80.6
2026-10-16 00:29:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.45 | 22.96 | -5.2 | -10.54 | 25.23 | 25.59 | 24.82 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 24 | 63.65 | 23.7 | 64.72 | 1 | 1 | 23.55 | 23.03 | -31.08 | -34.23 | 24.45 | 24.53 | 23.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.6 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.1 | 9.1 | 9.09 | 50 | 0.39 | 224.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.4 | 0 | 0 | 5.11 | 50 | 0 | 0.88 | 21 | 78.9 | 908 | 55
2026-10-16 00:30:00 |  |  |  |  | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.41 | 22.92 | -5.04 | -9.96 | 25.23 | 25.67 | 24.78 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.64 | 23.02 | -30.34 | -32.92 | 24.47 | 24.52 | 23.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.8 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 224.8 | 0.1 | 9 | 9.09 | 50 | 0.39 | 224.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 5.11 | 50 | 0 | 1.62 | 21 | 79 | 908 | 82.1
2026-10-16 00:31:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.41 | 22.99 | -4.51 | -9.41 | 25.44 | 25.62 | 24.87 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.76 | 23.8 | 64.93 | 1 | 1 | 23.41 | 22.99 | -31.08 | -33.69 | 24.47 | 24.52 | 23.92 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.6 | 0.11 | 10.9 | 10.08 | 50 | 0.43 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.11 | 9.9 | 9.09 | 50 | 0.4 | 224.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.11 | 50 | 0 | 1.62 | 21 | 79 | 908 | 55.3
2026-10-16 00:32:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.51 | 22.92 | -4.67 | -9.13 | 25.23 | 25.57 | 24.84 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.65 | 23.7 | 64.72 | 1 | 1 | 23.55 | 22.96 | -30.55 | -33.12 | 24.45 | 24.52 | 23.89 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.8 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.11 | 9.7 | 9.09 | 50 | 0.4 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.11 | 50 | 0 | 2.38 | 21 | 79.1 | 908 | 51.4
2026-10-16 00:33:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.44 | 22.85 | -4.29 | -10.51 | 25.2 | 25.55 | 24.82 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.54 | 23.9 | 63.76 | 23.8 | 64.82 | 1 | 1 | 23.55 | 22.98 | -30.37 | -32.35 | 24.45 | 24.59 | 23.81 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.7 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.11 | 9.8 | 9.09 | 50 | 0.4 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.11 | 50 | 0 | 2.86 | 20.9 | 79.2 | 908 | 68.4
2026-10-16 00:34:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.44 | 22.91 | -4.67 | -8.92 | 25.13 | 25.55 | 24.72 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.65 | 23.7 | 64.83 | 1 | 1 | 23.53 | 22.95 | -31.14 | -32.72 | 24.42 | 24.56 | 23.73 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.7 | 0.11 | 11 | 10.08 | 49.9 | 0.43 | 224.4 | 0 | 0 | 0.93 | 50 | 0 | 224.7 | 0.11 | 9.2 | 9.09 | 50 | 0.39 | 224.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.5 | 0 | 0 | 5.11 | 49.9 | 0 | 1.38 | 20.9 | 79.3 | 908 | 35.2
2026-10-16 00:35:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.51 | 22.94 | -5.42 | -9.84 | 25.14 | 25.45 | 24.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24.1 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.55 | 22.96 | -30.73 | -32.35 | 24.48 | 24.48 | 23.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.8 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 224.8 | 0.11 | 9.3 | 9.09 | 50 | 0.39 | 224.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 5.11 | 49.9 | 0 | 2.11 | 20.9 | 79.4 | 908 | 65.5
2026-10-16 00:36:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.52 | 22.87 | -4.38 | -9.25 | 25.05 | 25.43 | 24.62 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.76 | 23.8 | 64.82 | 1 | 1 | 23.4 | 22.98 | -31.08 | -32.77 | 24.51 | 24.52 | 23.84 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11 | 10.08 | 50 | 0.43 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.1 | 9 | 9.09 | 50 | 0.39 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.11 | 50 | 0 | 3.09 | 20.9 | 79.3 | 908 | 45.5
2026-10-16 00:37:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.52 | 22.92 | -4.1 | -9.22 | 25.01 | 25.54 | 24.49 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.76 | 23.8 | 64.82 | 1 | 1 | 23.48 | 23.02 | -31.35 | -32.77 | 24.49 | 24.47 | 23.77 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11.1 | 10.08 | 50 | 0.44 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.11 | 9.7 | 9.09 | 50 | 0.4 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.11 | 50 | 0 | 1.89 | 20.9 | 79.3 | 908 | 33.1
2026-10-16 00:38:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.46 | 22.9 | -4.26 | -9.1 | 25.05 | 25.49 | 24.66 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24.1 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.39 | 22.89 | -30.84 | -33.66 | 24.46 | 24.49 | 23.77 | 0 | 0 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.8 | 0.11 | 11.1 | 10.09 | 49.9 | 0.44 | 224.6 | 0 | 0 | 0.93 | 50 | 0 | 224.9 | 0.11 | 9.9 | 9.09 | 50 | 0.4 | 224.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.11 | 49.9 | 0 | 1.37 | 20.9 | 79.4 | 908 | 46
2026-10-16 00:39:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 22.87 | -4.63 | -10.23 | 25.1 | 25.57 | 24.76 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.64 | 24 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.57 | 22.95 | -31.05 | -33.66 | 24.41 | 24.48 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 11.1 | 10.09 | 50 | 0.44 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 224.9 | 0.11 | 9.5 | 9.09 | 49.9 | 0.39 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 3.59 | 20.8 | 79.2 | 908 | 32.7
2026-10-16 00:40:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.36 | 22.89 | -4.79 | -8.76 | 25.12 | 25.39 | 24.78 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.55 | 22.8 | -31.84 | -32.97 | 24.35 | 24.47 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 11 | 10.09 | 50 | 0.43 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225.1 | 0.11 | 9.5 | 9.09 | 50 | 0.39 | 225 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 2.37 | 20.9 | 79.3 | 908 | 76.5
2026-10-16 00:41:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.44 | 22.81 | -4.88 | -9.62 | 25.12 | 25.52 | 24.78 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.86 | 23.7 | 64.83 | 1 | 1 | 23.39 | 22.92 | -30.55 | -32.91 | 24.38 | 24.41 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11.1 | 10.09 | 50 | 0.44 | 224.7 | 0 | 0 | 0.93 | 50 | 0 | 225.2 | 0.11 | 9.7 | 9.1 | 50 | 0.4 | 225.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 1.87 | 20.8 | 79.4 | 908 | 43.5
2026-10-16 00:42:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.26 | 22.8 | -4.6 | -8.85 | 25.12 | 25.44 | 24.66 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.4 | 66.75 | 24 | 64.07 | 23.8 | 64.82 | 1 | 1 | 23.4 | 22.91 | -31.08 | -33.72 | 24.35 | 24.36 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11.2 | 10.09 | 49.9 | 0.45 | 224.9 | 0 | 0 | 0.93 | 49.9 | 0 | 225 | 0.11 | 9.7 | 9.1 | 49.9 | 0.4 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.11 | 50 | 0 | 1.38 | 20.8 | 79.5 | 908 | 23.3
2026-10-16 00:43:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.29 | 22.83 | -4.85 | -9.19 | 25.03 | 25.56 | 24.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 24 | 63.97 | 23.8 | 64.93 | 1 | 1 | 23.5 | 22.9 | -31.19 | -34.43 | 24.31 | 24.47 | 23.66 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.9 | 0.11 | 11 | 10.09 | 50 | 0.44 | 224.7 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.11 | 9.6 | 9.1 | 49.9 | 0.4 | 224.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.11 | 50 | 0 | 2.13 | 20.8 | 79.5 | 908 | 48
2026-10-16 00:44:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.45 | 22.8 | -5.38 | -8.7 | 25.14 | 25.38 | 24.49 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.4 | 66.64 | 24 | 63.97 | 23.8 | 64.82 | 1 | 1 | 23.42 | 22.85 | -31.46 | -33.94 | 24.46 | 24.47 | 23.66 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 |  |  | 225.1 | 0.11 | 11.2 | 10.09 | 50 | 0.45 | 224.9 | 0 | 0 | 0.93 | 50 | 0 | 225.1 | 0.11 | 9.7 | 9.1 | 50 | 0.4 | 225.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 1.36 | 20.7 | 79.6 | 908 | 17.4
2026-10-16 00:45:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.44 | 22.77 | -5.35 | -9.99 | 25.08 | 25.45 | 24.52 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24 | 64.07 | 23.7 | 64.93 | 1 | 1 | 23.5 | 22.9 | -31.66 | -33.48 | 24.42 | 24.54 | 23.75 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 224.8 | 0.11 | 11.1 | 10.09 | 50 | 0.44 | 224.6 | 0 | 0 | 0.93 | 49.9 | 0 | 224.9 | 0.11 | 9.6 | 9.1 | 49.9 | 0.4 | 224.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.7 | 0 | 0 | 5.11 | 49.9 | 0 | 1.36 | 20.7 | 79.6 | 908 | 43.8
2026-10-16 00:46:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 22.87 | -4.73 | -12.65 | 25.2 | 25.34 | 24.46 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.85 | 23.9 | 64.08 | 23.7 | 64.93 | 1 | 1 | 23.41 | 22.95 | -31.43 | -34.48 | 24.45 | 24.51 | 23.7 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 11 | 10.09 | 50 | 0.44 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225.1 | 0.11 | 9.4 | 9.1 | 50 | 0.39 | 225 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.11 | 49.9 | 0 | 1.61 | 20.7 | 79.5 | 908 | 344.5
2026-10-16 00:47:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.49 | 22.77 | -5.67 | -9.13 | 25.05 | 25.34 | 24.41 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.85 | 23.9 | 63.86 | 23.7 | 64.83 | 1 | 1 | 23.39 | 22.89 | -30.6 | -33.34 | 24.38 | 24.46 | 23.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 |  |  | 225.1 | 0.11 | 11.2 | 10.09 | 50 | 0.44 | 224.9 | 0 | 0 | 0.93 | 50 | 0 | 225.2 | 0.11 | 9.8 | 9.1 | 50 | 0.4 | 225.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 5.11 | 50 | 0 | 2.13 | 20.8 | 79.4 | 908 | 39.3
2026-10-16 00:48:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.42 | 22.84 | -5.29 | -9.5 | 25 | 25.37 | 24.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.86 | 23.9 | 63.97 | 23.8 | 64.82 | 1 | 1 | 23.53 | 22.91 | -32.01 | -33.94 | 24.44 | 24.55 | 23.57 | 0 | 0.1 | 0 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 10.9 | 10.09 | 50 | 0.44 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225.2 | 0.11 | 9.5 | 9.1 | 50 | 0.39 | 225 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 1.38 | 20.8 | 79.3 | 908 | 35.8
2026-10-16 00:49:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.52 | 22.74 | -5.88 | -9.68 | 24.87 | 25.16 | 24.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.86 | 24 | 63.97 | 23.8 | 64.82 | 1 | 1 | 23.41 | 22.92 | -31.87 | -34.45 | 24.46 | 24.51 | 23.53 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 11.1 | 10.09 | 49.9 | 0.44 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225 | 0.11 | 9.9 | 9.1 | 49.9 | 0.4 | 225 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.8 | 0 | 0 | 5.11 | 50 | 0 | 2.12 | 20.7 | 79.5 | 908 | 19.8
2026-10-16 00:50:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.49 | 22.78 | -5.48 | -9.47 | 24.94 | 25.2 | 24.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 67.07 | 24 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.39 | 22.94 | -31.34 | -34.6 | 24.49 | 24.41 | 23.61 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225.1 | 0.11 | 11 | 10.09 | 50 | 0.44 | 225 | 0 | 0 | 0.93 | 50 | 0 | 225.2 | 0.1 | 9.1 | 9.1 | 50 | 0.39 | 225.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225 | 0 | 0 | 5.11 | 50 | 0 | 2.12 | 20.7 | 79.4 | 908 | 31.5
2026-10-16 00:51:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.52 | 22.81 | -4.79 | -9.4 | 24.92 | 25.25 | 24.38 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.97 | 24 | 63.97 | 23.8 | 64.82 | 1 | 1 | 23.44 | 22.91 | -30.87 | -35.2 | 24.34 | 24.53 | 23.64 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 225 | 0.11 | 10.9 | 10.09 | 50 | 0.43 | 224.8 | 0 | 0 | 0.93 | 50 | 0 | 225.1 | 0.11 | 9.3 | 9.1 | 50 | 0.39 | 225.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.9 | 0 | 0 | 5.11 | 50 | 0 | 2.12 | 20.8 | 79.2 | 908 | 119.7
2026-10-16 00:52:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.38 | 22.83 | -4.76 | -8.94 | 24.87 | 25.36 | 24.48 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 67.07 | 24 | 63.86 | 23.8 | 64.72 | 1 | 1 | 23.38 | 22.89 | -30.9 | -34.02 | 24.42 | 24.53 | 23.61 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 |  |  | 224.6 | 0.11 | 11.1 | 10.09 | 50 | 0.44 | 224.3 | 0 | 0 | 0.93 | 50 | 0 | 224.6 | 0.1 | 9.1 | 9.1 | 50 | 0.39 | 224.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 224.6 | 0 | 0 | 5.11 | 50 | 0 | 3.6 | 20.8 | 79.1 | 908 | 28.6
2026-10-16 00:53:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.47 | 22.72 | -4.73 | -9.8 | 25.07 | 25.38 | 24.42 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.3 | 66.75 | 24 | 63.76 | 23.8 | 64.72 | 1 | 1 | 23.52 | 22.87 | -31.1 | -32.83 | 24.38 | 24.46 | 23.69 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.9 | 0.12 | 11 | 10.09 | 50 | 0.43 | 223.8 | 0 | 0 | 0.93 | 50 | 0 | 224 | 0.11 | 9.7 | 9.1 | 50 | 0.39 | 223.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 2.12 | 20.7 | 79 | 908 | 38.3
2026-10-16 00:54:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.45 | 22.79 | -4.57 | -9.04 | 24.94 | 25.49 | 24.54 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 24 | 63.86 | 23.8 | 64.61 | 1 | 1 | 23.46 | 22.85 | -30.78 | -33.23 | 24.44 | 24.4 | 23.63 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.7 | 0.11 | 11.1 | 10.09 | 50 | 0.44 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | 223.9 | 0.11 | 9.7 | 9.1 | 50 | 0.39 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 1.89 | 20.8 | 78.9 | 908 | 58.7
2026-10-16 00:55:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.24 | 22.87 | -5.07 | -9.25 | 25.08 | 25.5 | 24.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.75 | 24 | 63.97 | 23.8 | 64.72 | 1 | 1 | 23.51 | 22.83 | -33.13 | -33.82 | 24.3 | 24.52 | 23.57 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.6 | 0.11 | 11 | 10.09 | 50 | 0.44 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | 223.7 | 0.11 | 9.5 | 9.1 | 50 | 0.39 | 223.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 1.37 | 20.8 | 79.1 | 908 | 42.7
2026-10-16 00:56:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 22.8 | -6.01 | -9.38 | 25.08 | 25.46 | 24.55 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.86 | 24 | 63.97 | 23.8 | 64.61 | 1 | 1 | 23.5 | 22.92 | -31.86 | -33.77 | 24.45 | 24.51 | 23.7 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.7 | 0.11 | 11 | 10.09 | 50 | 0.43 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | 223.8 | 0.11 | 9.5 | 9.1 | 50 | 0.4 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.5 | 0 | 0 | 5.11 | 50 | 0 | 1.62 | 20.8 | 79.1 | 908 | 44.7
2026-10-16 00:57:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.35 | 22.79 | -5.13 | -10.17 | 25.05 | 25.37 | 24.47 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 24 | 64.07 | 23.7 | 64.61 | 1 | 1 | 23.33 | 22.85 | -31.54 | -34.22 | 24.38 | 24.42 | 23.61 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.8 | 0.12 | 11 | 10.09 | 50 | 0.43 | 223.6 | 0 | 0 | 0.93 | 50 | 0 | 223.9 | 0.11 | 9.1 | 9.1 | 50 | 0.39 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.7 | 0 | 0 | 5.11 | 50 | 0 | 3.1 | 20.8 | 79.1 | 908 | 46.9
2026-10-16 00:58:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.31 | 22.8 | -5.73 | -9.22 | 25.05 | 25.55 | 24.55 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.65 | 23.9 | 63.76 | 23.7 | 64.72 | 1 | 1 | 23.51 | 22.91 | -30.69 | -35.99 | 24.31 | 24.48 | 23.64 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.6 | 0.11 | 11 | 10.09 | 50 | 0.44 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | 223.8 | 0.11 | 9.7 | 9.1 | 50 | 0.39 | 223.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.5 | 0 | 0 | 5.11 | 50 | 0 | 1.89 | 20.8 | 79.2 | 908 | 53.4
2026-10-16 00:59:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.34 | 22.77 | -5.1 | -9.1 | 25.01 | 25.52 | 24.56 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 23.9 | 63.76 | 23.7 | 64.72 | 1 | 1 | 23.46 | 22.83 | -31.51 | -33.91 | 24.4 | 24.4 | 23.66 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.7 | 0.11 | 11.1 | 10.09 | 50 | 0.45 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | 223.8 | 0.11 | 9.5 | 9.1 | 50 | 0.4 | 223.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 2.11 | 20.8 | 79.1 | 908 | 45.4
2026-10-16 01:00:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.33 | 22.83 | -5.04 | -8.91 | 25.05 | 25.52 | 24.64 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.65 | 23.9 | 63.86 | 23.8 | 64.72 | 1 | 1 | 23.4 | 22.84 | -30.57 | -33.68 | 24.41 | 24.47 | 23.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.6 | 0.12 | 11.1 | 10.09 | 50 | 0.43 | 223.4 | 0 | 0 | 0.93 | 50 | 0 | 223.7 | 0.11 | 9 | 9.1 | 50 | 0.38 | 223.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.4 | 0 | 0 | 5.11 | 50 | 0 | 1.62 | 20.8 | 79.1 | 908 | 20.2
2026-10-16 01:01:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.16 | 22.72 | -4.63 | -9.65 | 25.07 | 25.44 | 24.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.65 | 24 | 63.86 | 23.8 | 64.82 | 1 | 1 | 23.3 | 22.85 | -30.92 | -33.43 | 24.48 | 24.48 | 23.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.6 | 0.12 | 11.2 | 10.09 | 50 | 0.44 | 223.4 | 0 | 0 | 0.93 | 50 | 0 | 223.7 | 0.11 | 9.3 | 9.1 | 50 | 0.38 | 223.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 2.85 | 20.8 | 79.2 | 908 | 47.3
2026-10-16 01:02:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.17 | 22.76 | -4.76 | -9.01 | 25.2 | 25.59 | 24.78 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.75 | 24 | 63.86 | 23.7 | 64.61 | 1 | 1 | 23.39 | 22.85 | -30.92 | -33.99 | 24.36 | 24.47 | 23.68 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.9 | 0.11 | 11.2 | 10.09 | 50 | 0.44 | 223.6 | 0 | 0 | 0.93 | 50 | 0 | 224 | 0.11 | 9.7 | 9.1 | 50 | 0.4 | [7 empty] | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 2.63 | 20.8 | 79.3 | 908 | 69.9
2026-10-16 01:03:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.17 | 22.76 | -4.66 | -9.62 | 25.18 | 25.45 | 24.6 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.65 | 23.9 | 63.97 | 23.7 | 64.72 | 1 | 1 | 23.46 | 22.79 | -30.83 | -33.39 | 24.34 | 24.48 | 23.64 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.8 | 0.11 | 11.2 | 10.09 | 50 | 0.44 | 223.6 | 0 | 0 | 0.93 | 50 | 0 | 223.8 | 0.11 | 9.6 | 9.1 | 50 | 0.39 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.6 | 0 | 0 | 5.11 | 50 | 0 | 2.37 | 20.7 | 79.4 | 908 | 359.3
2026-10-16 01:04:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.26 | 22.76 | -4.85 | -9.16 | 25.1 | 25.49 | 24.62 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.86 | 23.8 | 63.87 | 23.7 | 64.61 | 1 | 1 | 23.41 | 22.8 | -31.4 | -34.31 | 24.34 | 24.46 | 23.57 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.8 | 0.11 | 11 | 10.09 | 50 | 0.44 | 223.7 | 0 | 0 | 0.93 | 50 | 0 | 223.9 | 0.1 | 9.1 | 9.1 | 50 | 0.39 | 223.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.7 | 0 | 0 | 5.11 | 50 | 0 | 1.63 | 20.7 | 79.5 | 908 | 65.3
2026-10-16 01:05:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.2 | 22.69 | -4.85 | -8.58 | 25.1 | 25.52 | 24.62 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.97 | 24 | 63.86 | 23.7 | 64.83 | 1 | 1 | 23.46 | 22.76 | -30.9 | -32.54 | 24.33 | 24.42 | 23.55 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.9 | 0.11 | 11 | 10.09 | 50 | 0.43 | 223.7 | 0 | 0 | 0.93 | 50 | 0 | 224 | 0.11 | 9.6 | 9.1 | 50 | 0.39 | 223.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.8 | 0 | 0 | 5.11 | 50 | 0 | 1.38 | 20.8 | 79.5 | 908 | 12.8
2026-10-16 01:06:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.22 | 22.67 | -5.04 | -9.04 | 25.05 | 25.55 | 24.55 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.96 | 23.9 | 63.97 | 23.7 | 64.83 | 1 | 1 | 23.35 | 22.85 | -31.16 | -32.74 | 24.28 | 24.47 | 23.55 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0 |  |  | 223.8 | 0.11 | 11.2 | 10.09 | 50 | 0.44 | 223.6 | 0 | 0 | 0.93 | 50 | 0 | 223.9 | 0.11 | 9.6 | 9.1 | 50 | 0.39 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 2.38 | 20.7 | 79.5 | 908 | 53.5
2026-10-16 01:07:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.11 | 22.78 | -4.57 | -9.22 | 25.05 | 25.55 | 24.55 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.2 | 66.86 | 23.9 | 64.08 | 23.7 | 64.83 | 1 | 1 | 23.26 | 22.78 | -31.51 | -33.91 | 24.28 | 24.4 | 23.66 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.6 | 0.11 | 10.9 | 10.09 | 49.9 | 0.43 | 223.4 | 0 | 0 | 0.93 | 49.9 | 0 | 223.7 | 0.11 | 9.2 | 9.1 | 49.9 | 0.39 | 223.6 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.4 | 0 | 0 | 5.11 | 49.9 | 0 | 2.13 | 20.7 | 79.6 | 908 | 38
2026-10-16 01:08:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.23 | 22.8 | -4.29 | -9.74 | 25.03 | 25.52 | 24.58 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.86 | 23.9 | 63.97 | 23.7 | 64.83 | 1 | 1 | 23.41 | 22.78 | -31.13 | -35.9 | 24.28 | 24.38 | 23.62 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.8 | 0.11 | 11 | 10.09 | 50 | 0.43 | 223.5 | 0 | 0 | 0.93 | 50 | 0 | [6 empty] | 223.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 2.84 | 20.7 | 79.7 | 908 | 51.8
2026-10-16 01:09:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.16 | 22.7 | -4.51 | -9.53 | 25.03 | 25.55 | 24.63 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 66.97 | 23.9 | 63.97 | 23.7 | 64.93 | 1 | 1 | 23.42 | 22.73 | -30.92 | -33.11 | 24.28 | 24.33 | 23.62 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.9 | 0.11 | 11.2 | 10.09 | 50 | 0.44 | 223.7 | 0 | 0 | 0.93 | 50 | 0 | 224 | 0.1 | 9.1 | 9.1 | 50 | 0.39 | 223.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | [6 empty] | 1.62 | 20.7 | 79.6 | 908 | 82.8
2026-10-16 01:10:00 | 1 | 26 | 1 | 0 | 90.5 | 89 | 45.5 | 89 | 89 | 89 | 89 | 89 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 24.17 | 22.72 | -4.76 | -9.53 | 25.09 | 25.46 | 24.65 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 23.1 | 67.07 | 24 | 63.86 | 23.7 | 64.83 | 1 | 1 | 23.38 | 22.7 | -30.92 | -33.9 | 24.2 | 24.36 | 23.62 | 0 | 0.1 | 0.1 | 0 | 0.1 | 0.1 |  |  | 223.8 | 0.12 | 11.5 | 10.09 | 50 | 0.45 | 223.6 | 0 | 0 | 0.93 | 50 | 0 | 223.9 | 0.11 | 9.3 | 9.1 | 50 | 0.39 | 223.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 223.7 | 0 | 0 | 5.11 | 50 | 0 | 1.37 | 20.7 | 79.6 | 908 | 13.9

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-16 00:00:00 | To | 2026-10-16 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 70
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 70
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 70
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 70
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | % | 90.5 | 90.5 | 90.5 | 71
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | % | 45.5 | 45.5 | 45.5 | 71
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | % | 89 | 89 | 89 | 71
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state | 1 | 1 | 1 | 71
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state | 0 | 0 | 0 | 71
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state | 0 | 0 | 0 | 71
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 71
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 24.11 | 24.38 | 24.58 | 71
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 22.67 | 22.88 | 23.09 | 71
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -6.01 | -4.88 | -4.07 | 71
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -12.65 | -9.34 | -8.46 | 71
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 24.87 | 25.2 | 25.52 | 71
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 25.16 | 25.56 | 25.84 | 71
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 24.3 | 24.72 | 25.03 | 71
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 71
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 23.1 | 23.23 | 23.4 | 71
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 65.9 | 66.62 | 67.07 | 71
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 23.8 | 23.98 | 24.2 | 71
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 62.69 | 63.65 | 64.08 | 71
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 23.5 | 23.69 | 23.8 | 71
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 64.19 | 64.78 | 65.04 | 71
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 71
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 71
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 23.26 | 23.48 | 23.73 | 71
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 22.7 | 22.94 | 23.09 | 71
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -33.13 | -31.07 | -30.09 | 71
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -35.99 | -33.23 | -31.35 | 71
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 24.16 | 24.38 | 24.51 | 71
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 24.33 | 24.49 | 24.63 | 71
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 23.53 | 23.73 | 23.92 | 71
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 71
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0.09 | 0.1 | 71
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.09 | 0.1 | 71
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 71
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0.1 | 0.1 | 0.1 | 71
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0.09 | 0.1 | 71
MB-L5-01 | L5-RAD-03 | Radiasi Luar Barat | W/m²
MB-L5-01 | L5-RAD-04 | Radiasi Luar Utara | W/m²
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 223.6 | 224.4 | 225.1 | 71
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.12 | 71
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.9 | 11.1 | 11.5 | 71
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 10.08 | 10.08 | 10.09 | 71
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.99 | 50 | 71
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.43 | 0.44 | 0.45 | 71
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 223.4 | 224.22 | 225 | 71
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 71
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 71
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.93 | 0.93 | 0.93 | 71
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.99 | 50 | 71
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 71
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 223.7 | 224.52 | 225.2 | 69
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.11 | 0.11 | 69
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 8.9 | 9.47 | 9.9 | 69
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 9.09 | 9.09 | 9.1 | 69
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.99 | 50 | 69
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.38 | 0.39 | 0.4 | 69
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 223.6 | 224.42 | 225.1 | 70
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 70
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 70
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 11.38 | 11.38 | 11.38 | 70
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.99 | 50 | 70
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 70
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 70
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 70
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 70
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 70
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 70
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 223.4 | 224.31 | 225 | 67
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 67
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 67
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.11 | 5.11 | 5.11 | 67
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.98 | 50 | 67
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 67
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.88 | 2.34 | 4.62 | 71
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 20.7 | 20.94 | 21.3 | 71
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 77.3 | 78.8 | 79.7 | 71
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 908 | 908 | 908 | 71
WS-MOD-01 | WS-DIR | Arah Angin | ° | 3.7 | 52.99 | 359.3 | 71

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.