## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-15 00:00:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.69 | 24.38 | -0.54 | -4.46 | 28.92 | 28.52 | 27.35 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26 | 59.24 | 26 | 59.67 | 1 | 1 | 25.19 | 24.95 | -29.96 | -29.32 | 26.53 | 26.4 | 26.29 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 225.8 | 0 | 0 | 0.93 | 50 | 0 | 225.9 | 0.1 | 9.1 | 8.86 | 50 | 0.39 | 225.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.08 | 50 | 0 | 2.12 | 22.4 | 76.1 | 910 | 336.8
2026-10-15 00:01:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.47 | 0.19 | -5.23 | 28.87 | 28.45 | 27.29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26.1 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.2 | 24.96 | -30.17 | -29.95 | 26.46 | 26.45 | 26.28 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.2 | 0.11 | 10.9 | 9.81 | 50 | 0.44 | 226.1 | 0 | 0 | 0.93 | 50 | 0 | 226.1 | 0.11 | 9.7 | 8.86 | 50 | 0.4 | 226.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.38 | 22.5 | 76.1 | 910 | 21.4
2026-10-15 00:02:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.38 | -0.32 | -5.05 | 28.91 | 28.45 | 27.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26.1 | 59.24 | 25.9 | 59.67 | 1 | 1 | 25.14 | 24.94 | -29.4 | -29.32 | 26.47 | 26.42 | 26.31 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 10.8 | 9.81 | 50 | 0.42 | 226 | 0 | 0 | 0.93 | 50 | 0 | 226.1 | 0.11 | 9.3 | 8.86 | 50 | 0.39 | 226 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.08 | 50 | 0 | 1.36 | 22.6 | 75.8 | 910 | 341.7
2026-10-15 00:03:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.35 | 0.09 | -5.14 | 28.89 | 28.42 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 25.9 | 59.25 | 25.9 | 59.78 | 1 | 1 | 25.14 | 24.9 | -29.55 | -29.46 | 26.47 | 26.46 | 26.36 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226 | 0.11 | 9.6 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.38 | 22.6 | 76.2 | 910 | 21.4
2026-10-15 00:04:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.67 | 24.34 | -0.41 | -4.49 | 28.8 | 28.33 | 27.44 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.27 | 24.92 | -30.08 | -29.46 | 26.51 | 26.38 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.9 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.8 | 0 | 0 | 0.93 | 49.9 | 0 | 226.1 | 0.11 | 9.1 | 8.86 | 49.9 | 0.38 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 49.9 | 0 | 1.61 | 22.9 | 75.3 | 910 | 25.7
2026-10-15 00:05:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.58 | 24.35 | -0.35 | -4.52 | 28.78 | 28.4 | 27.48 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26.1 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.09 | 24.9 | -29.67 | -29.6 | 26.38 | 26.41 | 26.33 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 225.6 | 0 | 0 | 0.93 | 49.9 | 0 | 226 | 0.11 | 9.6 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.08 | 49.9 | 0 | 1.37 | 22.9 | 74.8 | 910 | 328.5
2026-10-15 00:06:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.38 | -0.66 | -4.55 | 28.85 | 28.44 | 27.42 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 59.35 | 26 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.12 | 24.87 | -29.66 | -29.66 | 26.45 | 26.44 | 26.29 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.6 | 0 | 0 | 0.93 | 49.9 | 0 | 225.8 | 0.11 | 9.7 | 8.86 | 49.9 | 0.39 | 225.7 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.08 | 49.9 | 0 | 1.6 | 22.8 | 75.5 | 910 | 279
2026-10-15 00:07:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.71 | 24.34 | -0.95 | -5.02 | 28.85 | 28.38 | 27.41 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 59.45 | 26 | 59.46 | 26 | 59.77 | 1 | 1 | 25.26 | 24.95 | -29.46 | -29.6 | 26.45 | 26.4 | 26.23 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 10.7 | 9.81 | 49.9 | 0.42 | 225.7 | 0 | 0 | 0.93 | 49.9 | 0 | 225.9 | 0.1 | 9.2 | 8.86 | 50 | 0.39 | 225.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.08 | 49.9 | 0 | 1.37 | 22.7 | 75.4 | 910 | 10.2
2026-10-15 00:08:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.62 | 24.36 | -1.2 | -4.74 | 28.82 | 28.33 | 27.44 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 59.35 | 26 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.34 | 24.87 | -29.67 | -29.2 | 26.46 | 26.38 | 26.27 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 225.9 | 0 | 0 | 0.93 | 50 | 0 | 225.9 | 0.1 | 9.1 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.08 | 49.9 | 0 | 0.88 | 22.7 | 75.6 | 910 | 99

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-15 00:00:00 | To | 2026-10-15 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 9
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 9
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 9
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 9
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 9
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.58 | 29.68 | 29.72 | 9
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 24.34 | 24.37 | 24.47 | 9
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -1.2 | -0.46 | 0.19 | 9
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -5.23 | -4.8 | -4.46 | 9
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 28.78 | 28.85 | 28.92 | 9
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.33 | 28.41 | 28.52 | 9
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.29 | 27.4 | 27.48 | 9
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 9
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 26 | 26.03 | 26.1 | 9
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 59.24 | 59.33 | 59.45 | 9
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 25.9 | 26.02 | 26.1 | 9
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 59.24 | 59.28 | 59.46 | 9
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 25.9 | 25.92 | 26 | 9
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 59.67 | 59.77 | 59.88 | 9
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 9
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 9
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 25.09 | 25.19 | 25.34 | 9
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.87 | 24.92 | 24.96 | 9
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -30.17 | -29.74 | -29.4 | 9
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -29.95 | -29.51 | -29.2 | 9
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.38 | 26.46 | 26.53 | 9
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.38 | 26.42 | 26.46 | 9
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.23 | 26.3 | 26.36 | 9
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 9
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0 | 0 | 9
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0.1 | 0.1 | 0.1 | 9
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 9
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0 | 0 | 0 | 9
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0 | 0 | 9
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 225.8 | 225.98 | 226.2 | 9
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.11 | 9
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.9 | 11 | 9
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 9.81 | 9.81 | 9.81 | 9
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.92 | 50 | 9
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.42 | 0.43 | 0.44 | 9
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.6 | 225.83 | 226.1 | 9
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 9
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 9
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.93 | 0.93 | 0.93 | 9
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.94 | 50 | 9
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 9
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 225.8 | 225.98 | 226.1 | 9
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.11 | 0.11 | 9
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9.1 | 9.38 | 9.7 | 9
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 8.86 | 8.86 | 8.86 | 9
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.94 | 50 | 9
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.38 | 0.39 | 0.4 | 9
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 225.7 | 225.93 | 226.2 | 9
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 9
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 9
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 11.38 | 11.38 | 11.38 | 9
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.94 | 50 | 9
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 9
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 9
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 9
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 9
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 9
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.6 | 225.81 | 226 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.08 | 5.08 | 5.08 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.94 | 50 | 9
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 9
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.88 | 1.67 | 2.38 | 9
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 22.4 | 22.68 | 22.9 | 9
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 74.8 | 75.64 | 76.2 | 9
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 910 | 910 | 910 | 9
WS-MOD-01 | WS-DIR | Arah Angin | ° | 10.2 | 162.63 | 341.7 | 9

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.