## Data
Timestamp | AC-REMOTE-01 · AC-POWER - AC Power State [state] | AC-REMOTE-01 · AC-SETPOINT - AC Set Temperature [°C] | AC-REMOTE-01 · AC-MODE - AC Operating Mode [code] | AC-REMOTE-01 · AC-FAN - AC Fan Speed [code] | ACT-MOD-01 · ENC-01 - Rotary Encoder 1 [%] | ACT-MOD-01 · ENC-02 - Rotary Encoder 2 [%] | ACT-MOD-01 · ENC-03 - Rotary Encoder 3 [%] | ACT-MOD-01 · ENC-04 - Rotary Encoder 4 [%] | ACT-MOD-01 · ENC-05 - Rotary Encoder 5 [%] | ACT-MOD-01 · ENC-06 - Rotary Encoder 6 [%] | ACT-MOD-01 · ENC-07 - Rotary Encoder 7 [%] | ACT-MOD-01 · ENC-08 - Rotary Encoder 8 [%] | ACT-MOD-01 · MOTOR-01 - Motor Status 1 [state] | ACT-MOD-01 · MOTOR-02 - Motor Status 2 [state] | ACT-MOD-01 · MOTOR-03 - Motor Status 3 [state] | ACT-MOD-01 · MOTOR-04 - Motor Status 4 [state] | ACT-MOD-01 · MOTOR-05 - Motor Status 5 [state] | ACT-MOD-01 · MOTOR-06 - Motor Status 6 [state] | ACT-MOD-01 · MOTOR-07 - Motor Status 7 [state] | ACT-MOD-01 · MOTOR-08 - Motor Status 8 [state] | MB-L3-01 · L3-AI-01 - Analog Input 1 [V] | MB-L3-01 · L3-AI-02 - Analog Input 2 [V] | MB-L3-01 · L3-AI-03 - Analog Input 3 [V] | MB-L3-01 · L3-AI-04 - Analog Input 4 [V] | MB-L3-01 · L3-AI-05 - Analog Input 5 [V] | MB-L3-01 · L3-AI-06 - Analog Input 6 [V] | MB-L3-01 · L3-SHT-01-T - SHT20 1 Temperature [°C] | MB-L3-01 · L3-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L3-01 · L3-SHT-02-T - SHT20 2 Temperature [°C] | MB-L3-01 · L3-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L3-01 · L3-SHT-03-T - SHT20 3 Temperature [°C] | MB-L3-01 · L3-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L3-01 · L3-RAD-01 - Radiation 1 [W/m²] | MB-L3-01 · L3-RAD-02 - Radiation 2 [W/m²] | MB-L3-01 · L3-ST-01 - Surface Temperature 1 [°C] | MB-L3-01 · L3-ST-02 - Surface Temperature 2 [°C] | MB-L3-01 · L3-HFT-01 - Heat Flow 1 [W/m²] | MB-L3-01 · L3-HFT-02 - Heat Flow 2 [W/m²] | MB-L3-01 · L3-BGT-01 - Black Globe Temperature 1 [°C] | MB-L3-01 · L3-BGT-02 - Black Globe Temperature 2 [°C] | MB-L3-01 · L3-BGT-03 - Black Globe Temperature 3 [°C] | MB-L3-01 · L3-LUX-01 - Illuminance / LUX 1 [lux] | MB-L3-01 · L3-LUX-02 - Illuminance / LUX 2 [lux] | MB-L3-01 · L3-LUX-03 - Illuminance / LUX 3 [lux] | MB-L3-01 · L3-LUX-04 - Illuminance / LUX 4 [lux] | MB-L3-01 · L3-LUX-05 - Illuminance / LUX 5 [lux] | MB-L3-01 · L3-LUX-06 - Illuminance / LUX 6 [lux] | MB-L5-01 · L5-AI-01 - Analog Input 1 [V] | MB-L5-01 · L5-AI-02 - Analog Input 2 [V] | MB-L5-01 · L5-AI-03 - Analog Input 3 [V] | MB-L5-01 · L5-AI-04 - Analog Input 4 [V] | MB-L5-01 · L5-AI-05 - Analog Input 5 [V] | MB-L5-01 · L5-AI-06 - Analog Input 6 [V] | MB-L5-01 · L5-SHT-01-T - SHT20 1 Temperature [°C] | MB-L5-01 · L5-SHT-01-RH - SHT20 1 Humidity [%RH] | MB-L5-01 · L5-SHT-02-T - SHT20 2 Temperature [°C] | MB-L5-01 · L5-SHT-02-RH - SHT20 2 Humidity [%RH] | MB-L5-01 · L5-SHT-03-T - SHT20 3 Temperature [°C] | MB-L5-01 · L5-SHT-03-RH - SHT20 3 Humidity [%RH] | MB-L5-01 · L5-RAD-01 - Radiation 1 [W/m²] | MB-L5-01 · L5-RAD-02 - Radiation 2 [W/m²] | MB-L5-01 · L5-ST-01 - Surface Temperature 1 [°C] | MB-L5-01 · L5-ST-02 - Surface Temperature 2 [°C] | MB-L5-01 · L5-HFT-01 - Heat Flow 1 [W/m²] | MB-L5-01 · L5-HFT-02 - Heat Flow 2 [W/m²] | MB-L5-01 · L5-BGT-01 - Black Globe Temperature 1 [°C] | MB-L5-01 · L5-BGT-02 - Black Globe Temperature 2 [°C] | MB-L5-01 · L5-BGT-03 - Black Globe Temperature 3 [°C] | MB-L5-01 · L5-LUX-01 - Illuminance / LUX 1 [lux] | MB-L5-01 · L5-LUX-02 - Illuminance / LUX 2 [lux] | MB-L5-01 · L5-LUX-03 - Illuminance / LUX 3 [lux] | MB-L5-01 · L5-LUX-04 - Illuminance / LUX 4 [lux] | MB-L5-01 · L5-LUX-05 - Illuminance / LUX 5 [lux] | MB-L5-01 · L5-LUX-06 - Illuminance / LUX 6 [lux] | Sensor Mainboard L3 · PZEM-L3-01-VOLT - PZEM L3-01 Voltage [V] | Sensor Mainboard L3 · PZEM-L3-01-CURR - PZEM L3-01 Current [A] | Sensor Mainboard L3 · PZEM-L3-01-POWER - PZEM L3-01 Active Power [W] | Sensor Mainboard L3 · PZEM-L3-01-ENERGY - PZEM L3-01 Energy [kWh] | Sensor Mainboard L3 · PZEM-L3-01-FREQ - PZEM L3-01 Frequency [Hz] | Sensor Mainboard L3 · PZEM-L3-01-PF - PZEM L3-01 Power Factor | Sensor Lampu L3 · PZEM-L3-02-VOLT - PZEM L3-02 Voltage [V] | Sensor Lampu L3 · PZEM-L3-02-CURR - PZEM L3-02 Current [A] | Sensor Lampu L3 · PZEM-L3-02-POWER - PZEM L3-02 Active Power [W] | Sensor Lampu L3 · PZEM-L3-02-ENERGY - PZEM L3-02 Energy [kWh] | Sensor Lampu L3 · PZEM-L3-02-FREQ - PZEM L3-02 Frequency [Hz] | Sensor Lampu L3 · PZEM-L3-02-PF - PZEM L3-02 Power Factor | Sensor Mainboard L5 · PZEM-L5-01-VOLT - PZEM L5-01 Voltage [V] | Sensor Mainboard L5 · PZEM-L5-01-CURR - PZEM L5-01 Current [A] | Sensor Mainboard L5 · PZEM-L5-01-POWER - PZEM L5-01 Active Power [W] | Sensor Mainboard L5 · PZEM-L5-01-ENERGY - PZEM L5-01 Energy [kWh] | Sensor Mainboard L5 · PZEM-L5-01-FREQ - PZEM L5-01 Frequency [Hz] | Sensor Mainboard L5 · PZEM-L5-01-PF - PZEM L5-01 Power Factor | Sensor Lampu L5 · PZEM-L5-02-VOLT - PZEM L5-02 Voltage [V] | Sensor Lampu L5 · PZEM-L5-02-CURR - PZEM L5-02 Current [A] | Sensor Lampu L5 · PZEM-L5-02-POWER - PZEM L5-02 Active Power [W] | Sensor Lampu L5 · PZEM-L5-02-ENERGY - PZEM L5-02 Energy [kWh] | Sensor Lampu L5 · PZEM-L5-02-FREQ - PZEM L5-02 Frequency [Hz] | Sensor Lampu L5 · PZEM-L5-02-PF - PZEM L5-02 Power Factor | Sensor Actuator L5 · PZEM-L5-03-VOLT - PZEM L5-03 Voltage [V] | Sensor Actuator L5 · PZEM-L5-03-CURR - PZEM L5-03 Current [A] | Sensor Actuator L5 · PZEM-L5-03-POWER - PZEM L5-03 Active Power [W] | Sensor Actuator L5 · PZEM-L5-03-ENERGY - PZEM L5-03 Energy [kWh] | Sensor Actuator L5 · PZEM-L5-03-FREQ - PZEM L5-03 Frequency [Hz] | Sensor Actuator L5 · PZEM-L5-03-PF - PZEM L5-03 Power Factor | Sensor Pendingin Ruangan · PZEM-L5-04-VOLT - PZEM L5-04 Voltage [V] | Sensor Pendingin Ruangan · PZEM-L5-04-CURR - PZEM L5-04 Current [A] | Sensor Pendingin Ruangan · PZEM-L5-04-POWER - PZEM L5-04 Active Power [W] | Sensor Pendingin Ruangan · PZEM-L5-04-ENERGY - PZEM L5-04 Energy [kWh] | Sensor Pendingin Ruangan · PZEM-L5-04-FREQ - PZEM L5-04 Frequency [Hz] | Sensor Pendingin Ruangan · PZEM-L5-04-PF - PZEM L5-04 Power Factor | WS-MOD-01 · WS-WIND - Kecepatan Angin [m/s] | WS-MOD-01 · WS-TEMP - Suhu Udara [°C] | WS-MOD-01 · WS-RH - Kelembapan Udara [%RH] | WS-MOD-01 · WS-PRES - Tekanan Udara [hPa] | WS-MOD-01 · WS-DIR - Arah Angin [°]
2026-10-15 00:00:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.69 | 24.38 | -0.54 | -4.46 | 28.92 | 28.52 | 27.35 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26 | 59.24 | 26 | 59.67 | 1 | 1 | 25.19 | 24.95 | -29.96 | -29.32 | 26.53 | 26.4 | 26.29 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 225.8 | 0 | 0 | 0.93 | 50 | 0 | 225.9 | 0.1 | 9.1 | 8.86 | 50 | 0.39 | 225.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.08 | 50 | 0 | 2.12 | 22.4 | 76.1 | 910 | 336.8
2026-10-15 00:01:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.47 | 0.19 | -5.23 | 28.87 | 28.45 | 27.29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26.1 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.2 | 24.96 | -30.17 | -29.95 | 26.46 | 26.45 | 26.28 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.2 | 0.11 | 10.9 | 9.81 | 50 | 0.44 | 226.1 | 0 | 0 | 0.93 | 50 | 0 | 226.1 | 0.11 | 9.7 | 8.86 | 50 | 0.4 | 226.1 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.38 | 22.5 | 76.1 | 910 | 21.4
2026-10-15 00:02:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.7 | 24.38 | -0.32 | -5.05 | 28.91 | 28.45 | 27.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26.1 | 59.24 | 25.9 | 59.67 | 1 | 1 | 25.14 | 24.94 | -29.4 | -29.32 | 26.47 | 26.42 | 26.31 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 10.8 | 9.81 | 50 | 0.42 | 226 | 0 | 0 | 0.93 | 50 | 0 | 226.1 | 0.11 | 9.3 | 8.86 | 50 | 0.39 | 226 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.08 | 50 | 0 | 1.36 | 22.6 | 75.8 | 910 | 341.7
2026-10-15 00:03:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.35 | 0.09 | -5.14 | 28.89 | 28.42 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 25.9 | 59.25 | 25.9 | 59.78 | 1 | 1 | 25.14 | 24.9 | -29.55 | -29.46 | 26.47 | 26.46 | 26.36 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226 | 0.11 | 9.6 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.38 | 22.6 | 76.2 | 910 | 21.4
2026-10-15 00:04:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.67 | 24.34 | -0.41 | -4.49 | 28.8 | 28.33 | 27.44 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.27 | 24.92 | -30.08 | -29.46 | 26.51 | 26.38 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.9 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.8 | 0 | 0 | 0.93 | 49.9 | 0 | 226.1 | 0.11 | 9.1 | 8.86 | 49.9 | 0.38 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 49.9 | 0 | 1.61 | 22.9 | 75.3 | 910 | 25.7
2026-10-15 00:05:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.58 | 24.35 | -0.35 | -4.52 | 28.78 | 28.4 | 27.48 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26.1 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.09 | 24.9 | -29.67 | -29.6 | 26.38 | 26.41 | 26.33 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 225.6 | 0 | 0 | 0.93 | 49.9 | 0 | 226 | 0.11 | 9.6 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.08 | 49.9 | 0 | 1.37 | 22.9 | 74.8 | 910 | 328.5
2026-10-15 00:06:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.72 | 24.38 | -0.66 | -4.55 | 28.85 | 28.44 | 27.42 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 59.35 | 26 | 59.24 | 25.9 | 59.78 | 1 | 1 | 25.12 | 24.87 | -29.66 | -29.66 | 26.45 | 26.44 | 26.29 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.6 | 0 | 0 | 0.93 | 49.9 | 0 | 225.8 | 0.11 | 9.7 | 8.86 | 49.9 | 0.39 | 225.7 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.08 | 49.9 | 0 | 1.6 | 22.8 | 75.5 | 910 | 279
2026-10-15 00:07:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.71 | 24.34 | -0.95 | -5.02 | 28.85 | 28.38 | 27.41 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26.1 | 59.45 | 26 | 59.46 | 26 | 59.77 | 1 | 1 | 25.26 | 24.95 | -29.46 | -29.6 | 26.45 | 26.4 | 26.23 | 0 | 0 | 0.1 | 0 | 0 | 0 | 225.8 | 0.11 | 10.7 | 9.81 | 49.9 | 0.42 | 225.7 | 0 | 0 | 0.93 | 49.9 | 0 | 225.9 | 0.1 | 9.2 | 8.86 | 50 | 0.39 | 225.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.6 | 0 | 0 | 5.08 | 49.9 | 0 | 1.37 | 22.7 | 75.4 | 910 | 10.2
2026-10-15 00:08:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.55 | 24.44 | -0.54 | -4.71 | 28.84 | 28.33 | 27.37 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26.1 | 59.35 | 25.9 | 59.78 | 1 | 1 | 25.21 | 24.94 | -29.46 | -29.34 | 26.44 | 26.41 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.1 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.8 | 0 | 0 | 0.93 | 49.9 | 0 | 226 | 0.11 | 9.6 | 8.86 | 49.9 | 0.39 | 225.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.8 | 0 | 0 | 5.08 | 50 | 0 | 1.37 | 22.6 | 75.7 | 910 | 349.3
2026-10-15 00:09:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.69 | 24.3 | -1.2 | -4.86 | 28.84 | 28.52 | 27.42 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.24 | 25.9 | 59.35 | 25.9 | 59.78 | 1 | 1 | 25.27 | 24.87 | -29.25 | -29.12 | 26.31 | 26.47 | 26.27 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 11 | 9.81 | 50 | 0.43 | 226.3 | 0 | 0 | 0.93 | 50 | 0 | 226.3 | 0.11 | 9.7 | 8.86 | 50 | 0.4 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 50 | 0 | 2.85 | 22.6 | 76 | 910 | 29.3
2026-10-15 00:10:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.66 | 24.42 | -1.17 | -4.58 | 28.78 | 28.48 | 27.37 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26 | 59.24 | 26 | 59.77 | 1 | 1 | 25.14 | 24.98 | -29.67 | -29.12 | 26.4 | 26.35 | 26.28 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 10.8 | 9.81 | 50 | 0.43 | 226.1 | 0 | 0 | 0.93 | 50 | 0 | 226.3 | 0.11 | 9.8 | 8.86 | 50 | 0.4 | 226.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 50 | 0 | 1.37 | 22.4 | 76.4 | 910 | 10.3
2026-10-15 00:11:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.62 | 24.33 | -1.86 | -4.71 | 28.8 | 28.45 | 27.42 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.35 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.23 | 24.87 | -29.46 | -29.55 | 26.47 | 26.4 | 26.28 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.2 | 0.11 | 11 | 9.81 | 49.9 | 0.43 | 225.9 | 0 | 0 | 0.93 | 49.9 | 0 | 226.1 | 0.11 | 9.8 | 8.86 | 49.9 | 0.4 | 226 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.08 | 49.9 | 0 | 2.11 | 22.4 | 76.7 | 910 | 331
2026-10-15 00:12:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.55 | 24.31 | -1.67 | -4.46 | 28.76 | 28.44 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.35 | 26 | 59.24 | 25.8 | 59.78 | 1 | 1 | 25.2 | 24.85 | -29.37 | -29.37 | 26.4 | 26.37 | 26.27 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.3 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 226.1 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.11 | 9.7 | 8.86 | 49.9 | 0.4 | 226.1 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 49.9 | 0 | 2.63 | 22.4 | 77.4 | 910 | 50.7
2026-10-15 00:13:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.63 | 24.28 | -1.7 | -4.58 | 28.8 | 28.41 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.25 | 24.83 | -30.32 | -29.29 | 26.47 | 26.35 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 11 | 9.81 | 49.9 | 0.44 | 226.3 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.1 | 9.2 | 8.86 | 49.9 | 0.39 | 226.1 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 50 | 0 | 0.64 | 22.4 | 77.2 | 910 | 359.4
2026-10-15 00:14:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.63 | 24.41 | -1.07 | -5.05 | 28.67 | 28.4 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.19 | 24.9 | -29.46 | -29.55 | 26.51 | 26.37 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 10.9 | 9.81 | 49.9 | 0.43 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.1 | 9 | 8.86 | 49.9 | 0.39 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 50 | 0 | 1.38 | 22.4 | 77.3 | 910 | 33.1
2026-10-15 00:15:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.65 | 24.31 | -1.23 | -5.05 | 28.75 | 28.38 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.46 | 25.9 | 59.88 | 1 | 1 | 25.14 | 24.92 | -29.85 | -29.55 | 26.41 | 26.35 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 10.9 | 9.81 | 50 | 0.43 | 226.3 | 0 | 0 | 0.93 | 49.9 | 0 | 226.4 | 0.11 | 9.4 | 8.86 | 50 | 0.39 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.2 | 0 | 0 | 5.08 | 50 | 0 | 1.88 | 22.4 | 77.3 | 910 | 84.8
2026-10-15 00:16:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.57 | 24.44 | -1.36 | -5.05 | 28.73 | 28.41 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.21 | 24.91 | -29.61 | -29.4 | 26.45 | 26.35 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 10.9 | 9.81 | 50 | 0.43 | 226.3 | 0 | 0 | 0.93 | 50 | 0 | 226.3 | 0.11 | 9.6 | 8.86 | 50 | 0.4 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 50 | 0 | 2.36 | 22.4 | 77.9 | 910 | 55.5
2026-10-15 00:17:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.62 | 24.36 | -0.6 | -5.32 | 28.67 | 28.35 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.12 | 24.94 | -29.64 | -29.55 | 26.37 | 26.35 | 26.23 | 0 | 0 | 0 | 0 | 0 | 0 | 226.2 | 0.11 | 10.7 | 9.81 | 50 | 0.43 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.1 | 9.2 | 8.86 | 50 | 0.4 | 226.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.36 | 22.3 | 77.9 | 910 | 58.6
2026-10-15 00:18:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.55 | 24.29 | -1.2 | -5.32 | 28.77 | 28.41 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.12 | 24.82 | -29.84 | -29.77 | 26.42 | 26.31 | 26.28 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.3 | 0.11 | 10.8 | 9.81 | 49.9 | 0.43 | 226.1 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.1 | 9.3 | 8.86 | 49.9 | 0.4 | 226.1 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 49.9 | 0 | 2.86 | 22.3 | 78.4 | 910 | 356.1
2026-10-15 00:19:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.59 | 24.35 | -1.32 | -5.82 | 28.77 | 28.34 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.67 | 25.9 | 59.35 | 25.9 | 59.99 | 1 | 1 | 25.05 | 24.89 | -29.64 | -29.95 | 26.36 | 26.41 | 26.26 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.2 | 0.11 | 10.9 | 9.81 | 49.9 | 0.45 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.1 | 9.2 | 8.87 | 49.9 | 0.41 | 226.1 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 49.9 | 0 | 1.62 | 22.4 | 78.5 | 910 | 49.3
2026-10-15 00:20:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.47 | 24.35 | -1.86 | -5.48 | 28.8 | 28.41 | 27.21 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.35 | 26 | 59.88 | 1 | 1 | 25.2 | 24.78 | -29.61 | -29.66 | 26.46 | 26.35 | 26.24 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.2 | 0.11 | 10.7 | 9.81 | 49.9 | 0.43 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.11 | 9.7 | 8.87 | 49.9 | 0.4 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 225.9 | 0 | 0 | 5.08 | 49.9 | 0 | 3.36 | 22.4 | 78.4 | 910 | 55.1
2026-10-15 00:21:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.59 | 24.29 | -1.36 | -6.07 | 28.7 | 28.42 | 27.32 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.27 | 24.85 | -30.05 | -29.77 | 26.44 | 26.37 | 26.3 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 11 | 9.81 | 49.9 | 0.44 | 226 | 0 | 0 | 0.93 | 49.9 | 0 | 226.2 | 0.11 | 9.7 | 8.87 | 49.9 | 0.4 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.2 | 0 | 0 | 5.08 | 49.9 | 0 | 1.86 | 22.4 | 78.2 | 910 | 55
2026-10-15 00:22:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.52 | 24.37 | -1.39 | -5.76 | 28.73 | 28.44 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.46 | 26 | 59.88 | 1 | 1 | 25.16 | 24.87 | -29.43 | -29.89 | 26.44 | 26.4 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.9 | 9.81 | 50 | 0.43 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.2 | 0.11 | 9.9 | 8.87 | 50 | 0.41 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.2 | 0 | 0 | 5.08 | 50 | 0 | 2.11 | 22.4 | 79 | 910 | 67.7
2026-10-15 00:23:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.53 | 24.31 | -1.64 | -5.32 | 28.73 | 28.44 | 27.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 26 | 59.35 | 25.8 | 59.78 | 1 | 1 | 25.19 | 24.89 | -29.61 | -29.86 | 26.41 | 26.33 | 26.26 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 11 | 9.81 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.11 | 9.5 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 1.38 | 22.4 | 78.7 | 910 | 54.7
2026-10-15 00:24:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.57 | 24.31 | -2.02 | -5.79 | 28.8 | 28.46 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.18 | 24.78 | -30.05 | -29.95 | 26.38 | 26.36 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.9 | 9.82 | 50 | 0.43 | 226.3 | 0 | 0 | 0.93 | 50 | 0 | 226.2 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.2 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.2 | 0 | 0 | 5.08 | 50 | 0 | 1.61 | 22.3 | 78.6 | 909 | 27.7
2026-10-15 00:25:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.53 | 24.29 | -1.83 | -5.29 | 28.8 | 28.48 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.46 | 25.9 | 59.35 | 25.9 | 59.88 | 1 | 1 | 25.03 | 24.77 | -29.46 | -29.95 | 26.42 | 26.38 | 26.31 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 11 | 9.82 | 50 | 0.43 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.88 | 22.3 | 79 | 909 | 88.8
2026-10-15 00:26:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.48 | 24.28 | -2.02 | -5.57 | 28.77 | 28.4 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.35 | 25.9 | 59.99 | 1 | 1 | 25.16 | 24.82 | -29.73 | -29.77 | 26.36 | 26.36 | 26.22 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.1 | 9.1 | 8.87 | 50 | 0.39 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.2 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 22.2 | 79 | 909 | 14.5
2026-10-15 00:27:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.52 | 24.23 | -2.18 | -5.57 | 28.82 | 28.4 | 27.4 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.46 | 25.9 | 59.46 | 25.9 | 59.88 | 1 | 1 | 25.21 | 24.8 | -29.9 | -30.03 | 26.45 | 26.35 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.4 | 0.11 | 10.9 | 9.82 | 50 | 0.43 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 50 | 0 | 2.85 | 22.3 | 80.6 | 909 | 37.4
2026-10-15 00:28:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.47 | 24.24 | -2.18 | -5.48 | 28.71 | 28.44 | 27.32 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.35 | 25.9 | 60.1 | 1 | 1 | 25.2 | 24.85 | -30.88 | -29.86 | 26.3 | 26.29 | 26.15 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.11 | 9.9 | 8.87 | 50 | 0.4 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.1 | 0 | 0 | 5.08 | 49.9 | 0 | 1.87 | 22.2 | 80.1 | 909 | 32.9
2026-10-15 00:29:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.52 | 24.24 | -2.46 | -6.03 | 28.75 | 28.48 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.46 | 25.8 | 59.99 | 1 | 1 | 25.09 | 24.77 | -29.96 | -30.32 | 26.35 | 26.3 | 26.24 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 11 | 9.82 | 50 | 0.43 | 226.3 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.11 | 9.7 | 8.87 | 50 | 0.4 | 226.3 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.61 | 22.2 | 80.4 | 909 | 1.3
2026-10-15 00:30:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.55 | 24.2 | -2.49 | -5.6 | 28.78 | 28.38 | 27.29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 26 | 59.46 | 25.8 | 59.89 | 1 | 1 | 25.05 | 24.8 | -30.05 | -30.26 | 26.4 | 26.26 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.9 | 9.82 | 50 | 0.43 | 226.4 | 0 | 0 | 0.93 | 49.9 | 0 | 226.4 | 0.11 | 9.8 | 8.87 | 50 | 0.4 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 22.2 | 80.8 | 909 | 12.3
2026-10-15 00:31:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.53 | 24.3 | -1.99 | -5.63 | 28.73 | 28.42 | 27.37 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 25.9 | 59.46 | 25.9 | 59.99 | 1 | 1 | 25.13 | 24.83 | -29.96 | -30.12 | 26.44 | 26.33 | 26.22 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 11.1 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.1 | 9.4 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 22.2 | 81.1 | 909 | 8.6
2026-10-15 00:32:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.62 | 24.2 | -2.24 | -5.73 | 28.78 | 28.41 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.46 | 25.9 | 59.88 | 1 | 1 | 25.18 | 24.78 | -29.64 | -30.35 | 26.42 | 26.3 | 26.17 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.9 | 9.82 | 50 | 0.43 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.39 | 22.2 | 80.4 | 909 | 25
2026-10-15 00:33:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.44 | 24.26 | -2.4 | -5.76 | 28.75 | 28.45 | 27.32 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.46 | 25.8 | 59.99 | 1 | 1 | 25.13 | 24.83 | -30.2 | -30.03 | 26.49 | 26.35 | 26.17 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 11.1 | 9.82 | 50 | 0.43 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 1.37 | 22.2 | 80.4 | 909 | 66.1
2026-10-15 00:34:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.51 | 24.2 | -2.71 | -6 | 28.8 | 28.52 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.35 | 25.8 | 59.99 | 1 | 1 | 25.18 | 24.87 | -30.23 | -30.52 | 26.41 | 26.33 | 26.22 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 11 | 9.82 | 49.9 | 0.43 | 226.4 | 0 | 0 | 0.93 | 49.9 | 0 | 226.5 | 0.1 | 9.1 | 8.87 | 50 | 0.39 | 226.4 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.13 | 22.2 | 80.4 | 909 | 41.8
2026-10-15 00:35:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.53 | 24.23 | -2.24 | -6.03 | 28.75 | 28.46 | 27.32 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.46 | 25.8 | 59.99 | 1 | 1 | 25.13 | 24.78 | -29.87 | -30.15 | 26.41 | 26.42 | 26.16 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.3 | 0.11 | 10.8 | 9.82 | 49.9 | 0.44 | 226.2 | 0 | 0 | 0.93 | 50 | 0 | 226.4 | 0.1 | 9.1 | 8.87 | 49.9 | 0.39 | 226.2 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226 | 0 | 0 | 5.08 | 49.9 | 0 | 1.62 | 22.2 | 80.1 | 909 | 58
2026-10-15 00:36:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.46 | 24.3 | -2.4 | -6.16 | 28.75 | 28.42 | 27.29 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 26 | 59.46 | 25.8 | 59.99 | 1 | 1 | 25.18 | 24.74 | -29.58 | -30.58 | 26.4 | 26.31 | 26.15 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 22.2 | 80.3 | 909 | 17.2
2026-10-15 00:37:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.37 | 24.2 | -2.52 | -6.1 | 28.7 | 28.33 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.46 | 25.8 | 59.99 | 1 | 1 | 25.19 | 24.72 | -30.31 | -29.77 | 26.42 | 26.38 | 26.27 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 0.88 | 22.1 | 80.3 | 909 | 76.3
2026-10-15 00:38:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.46 | 24.2 | -2.78 | -6.25 | 28.73 | 28.46 | 27.27 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 25.9 | 59.57 | 25.8 | 59.99 | 1 | 1 | 25.2 | 24.78 | -30.08 | -30.29 | 26.47 | 26.36 | 26.15 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.1 | 9.6 | 8.87 | 49.9 | 0.41 | 226.5 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 49.9 | 0 | 1.36 | 22.1 | 80.1 | 909 | 37.6
2026-10-15 00:39:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.47 | 24.15 | -2.46 | -5.82 | 28.73 | 28.44 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.46 | 25.8 | 60.1 | 1 | 1 | 24.98 | 24.77 | -30.82 | -30.61 | 26.46 | 26.31 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 1.61 | 22.1 | 80.2 | 909 | 13
2026-10-15 00:40:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.41 | 24.3 | -2.78 | -5.91 | 28.78 | 28.44 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.56 | 25.9 | 60.1 | 1 | 1 | 25.16 | 24.83 | -30.99 | -30.75 | 26.46 | 26.29 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.1 | 9.4 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.5 | 0 | 0 | 5.08 | 50 | 0 | 3.34 | 22 | 80.3 | 909 | 40.9
2026-10-15 00:41:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.46 | 24.2 | -2.05 | -5.94 | 28.8 | 28.37 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.35 | 25.8 | 59.89 | 1 | 1 | 25.07 | 24.74 | -30.73 | -30.43 | 26.42 | 26.37 | 26.18 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 10.9 | 9.82 | 49.9 | 0.44 | 226.5 | 0 | 0 | 0.93 | 49.9 | 0 | 226.6 | 0.1 | 9.1 | 8.87 | 49.9 | 0.4 | 226.6 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 49.9 | 0 | 1.43 | 22 | 80.5 | 909 | 71.6
2026-10-15 00:42:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.34 | 24.11 | -1.74 | -5.73 | 28.78 | 28.35 | 27.37 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 26 | 59.56 | 26 | 60.09 | 1 | 1 | 25.01 | 24.76 | -30.17 | -30.58 | 26.33 | 26.2 | 26.22 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 10.7 | 9.82 | 50 | 0.43 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 9.8 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 1.45 | 22 | 80.4 | 909 | 45.4
2026-10-15 00:43:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.37 | 24.12 | -2.21 | -6.07 | 28.82 | 28.34 | 27.44 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 25.9 | 59.46 | 25.8 | 60.1 | 1 | 1 | 25.08 | 24.76 | -30.37 | -30.38 | 26.35 | 26.35 | 26.22 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.5 | 0 | 0 | 5.08 | 50 | 0 | 2.36 | 22 | 80.6 | 909 | 44.1
2026-10-15 00:44:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.41 | 24.11 | -2.24 | -6.25 | 28.71 | 28.44 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 25.9 | 59.46 | 25.8 | 60.1 | 1 | 1 | 25.14 | 24.69 | -30.55 | -30.63 | 26.33 | 26.3 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 10 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.6 | 0 | 0 | 5.08 | 50 | 0 | 1.63 | 22 | 80.8 | 909 | 59.3
2026-10-15 00:45:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.33 | 24.15 | -2.49 | -6.41 | 28.76 | 28.44 | 27.37 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 25.9 | 59.46 | 25.9 | 60.1 | 1 | 1 | 25.05 | 24.69 | -30.9 | -30.52 | 26.36 | 26.33 | 26.15 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.11 | 9.8 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.5 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 22 | 80.9 | 909 | 14.8
2026-10-15 00:46:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.37 | 24.05 | -2.68 | -6.28 | 28.75 | 28.4 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.46 | 26 | 59.56 | 25.8 | 60.1 | 1 | 1 | 24.98 | 24.74 | -30.75 | -30.69 | 26.3 | 26.3 | 26.12 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 9.4 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 0.38 | 21.9 | 80.8 | 909 | 5.1
2026-10-15 00:47:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.35 | 24.11 | -2.68 | -6.84 | 28.71 | 28.33 | 27.41 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 25.9 | 59.57 | 25.9 | 60.1 | 1 | 1 | 25.01 | 24.74 | -30.93 | -30.12 | 26.3 | 26.3 | 26.24 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.5 | 0.11 | 10.8 | 9.82 | 50 | 0.43 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.5 | 0.1 | 9.1 | 8.87 | 50 | 0.39 | 226.4 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 50 | 0 | 1.37 | 22 | 81.2 | 909 | 49.1
2026-10-15 00:48:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.28 | 24.06 | -2.18 | -6.37 | 28.71 | 28.42 | 27.41 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.46 | 26 | 59.67 | 25.8 | 60.1 | 1 | 1 | 25.07 | 24.7 | -30.96 | -31.01 | 26.42 | 26.3 | 26.1 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.11 | 10 | 8.87 | 50 | 0.41 | 226.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 2.12 | 22 | 81.5 | 909 | 30.4
2026-10-15 00:49:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.35 | 24.06 | -2.81 | -6.41 | 28.67 | 28.44 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 26 | 59.56 | 25.8 | 59.99 | 1 | 1 | 25.07 | 24.7 | -31.05 | -31.01 | 26.44 | 26.35 | 26.2 | 0 | 0 | 0 | 0 | 0 | 0 | 226.7 | 0.11 | 10.9 | 9.82 | 50 | 0.43 | 226.4 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.1 | 9.4 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 4.34 | 21.9 | 81.6 | 909 | 345.7
2026-10-15 00:50:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.33 | 24.05 | -2.71 | -6.41 | 28.73 | 28.32 | 27.39 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.67 | 26 | 59.46 | 25.8 | 60.2 | 1 | 1 | 25.01 | 24.62 | -30.61 | -30.87 | 26.35 | 26.3 | 26.27 | 0 | 0 | 0 | 0 | 0 | 0 | 226.6 | 0.11 | 10.9 | 9.82 | 49.9 | 0.43 | 226.4 | 0 | 0 | 0.93 | 49.9 | 0 | 226.5 | 0.1 | 9.4 | 8.87 | 49.9 | 0.4 | 226.5 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 49.9 | 0 | 1.39 | 21.9 | 81.7 | 909 | 19.4
2026-10-15 00:51:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.32 | 23.98 | -2.9 | -6.59 | 28.75 | 28.44 | 27.24 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 26 | 59.46 | 25.9 | 60.1 | 1 | 1 | 24.94 | 24.59 | -30.64 | -31.03 | 26.36 | 26.33 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.11 | 9.7 | 8.87 | 50 | 0.4 | 226.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.6 | 0 | 0 | 5.08 | 50 | 0 | 1.36 | 21.9 | 81.7 | 909 | 9
2026-10-15 00:52:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.28 | 23.98 | -3.12 | -6.59 | 28.8 | 28.32 | 27.33 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.56 | 25.9 | 59.57 | 25.8 | 60.1 | 1 | 1 | 25.08 | 24.59 | -31.4 | -31.1 | 26.38 | 26.4 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 11.1 | 9.82 | 50 | 0.44 | 226.6 | 0 | 0 | 0.93 | 50 | 0 | 226.8 | 0.1 | 9 | 8.87 | 50 | 0.39 | 226.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 1.39 | 21.9 | 82 | 909 | 287
2026-10-15 00:53:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.33 | 23.97 | -3.18 | -6.59 | 28.76 | 28.45 | 27.21 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.67 | 26 | 59.56 | 25.9 | 60.2 | 1 | 1 | 24.98 | 24.62 | -31.08 | -31.38 | 26.38 | 26.22 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 10.8 | 9.82 | 49.9 | 0.43 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.8 | 0.11 | 9.8 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.4 | 0 | 0 | 5.08 | 50 | 0 | 1.89 | 21.9 | 82.1 | 909 | 90.7
2026-10-15 00:54:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.33 | 23.97 | -3.88 | -7.3 | 28.71 | 28.39 | 27.28 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.77 | 25.9 | 59.57 | 25.7 | 60.1 | 1 | 1 | 24.95 | 24.58 | -31.34 | -30.92 | 26.35 | 26.36 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 10.9 | 9.82 | 49.9 | 0.44 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.1 | 9.2 | 8.87 | 49.9 | 0.39 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.5 | 0 | 0 | 5.08 | 49.9 | 0 | 0.13 | 21.9 | 82.1 | 909 | 62.8
2026-10-15 00:55:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.19 | 24.02 | -2.71 | -6.34 | 28.62 | 28.32 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 25.9 | 59.57 | 25.8 | 60.2 | 1 | 1 | 24.8 | 24.53 | -30.96 | -31.03 | 26.35 | 26.35 | 26.15 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.9 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.7 | 0 | 0 | 0.93 | 50 | 0 | 226.9 | 0.1 | 9.3 | 8.87 | 50 | 0.4 | 226.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 1.12 | 22 | 82.1 | 909 | 332.8
2026-10-15 00:56:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.3 | 23.88 | -3.25 | -6.9 | 28.66 | 28.35 | 27.34 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.77 | 26 | 59.56 | 25.8 | 60.2 | 1 | 1 | 24.87 | 24.64 | -31.35 | -31.41 | 26.38 | 26.28 | 26.11 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.7 | 0.11 | 11 | 9.82 | 50 | 0.45 | 226.5 | 0 | 0 | 0.93 | 50 | 0 | 226.6 | 0.1 | 9.4 | 8.87 | 50 | 0.4 | 226.6 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.5 | 0 | 0 | 5.08 | 50 | 0 | 0.37 | 22 | 81.9 | 909 | 45.8
2026-10-15 00:57:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.28 | 23.82 | -3.31 | -7.33 | 28.65 | 28.39 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.78 | 25.9 | 59.46 | 25.9 | 60.2 | 1 | 1 | 24.9 | 24.63 | -31.57 | -31.29 | 26.44 | 26.35 | 26.23 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 10.8 | 9.82 | 50 | 0.43 | 226.7 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.11 | 9.6 | 8.87 | 50 | 0.4 | 226.5 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.6 | 0 | 0 | 5.08 | 50 | 0 | 1.38 | 22 | 82.4 | 909 | 39.5
2026-10-15 00:58:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.23 | 23.86 | -3.53 | -6.65 | 28.67 | 28.39 | 27.3 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.67 | 25.9 | 59.67 | 25.8 | 60.2 | 1 | 1 | 24.85 | 24.49 | -31.7 | -31.41 | 26.36 | 26.23 | 26.2 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.6 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.4 | 0 | 0 | 0.93 | 49.9 | 0 | 226.5 | 0.1 | 9.5 | 8.87 | 49.9 | 0.4 | 226.4 | 0 | 0 | 11.38 | 49.9 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.3 | 0 | 0 | 5.08 | 49.9 | 0 | 2.11 | 21.9 | 82.5 | 909 | 53
2026-10-15 00:59:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.16 | 23.86 | -2.43 | -7.42 | 28.58 | 28.46 | 27.19 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 26 | 59.67 | 25.9 | 59.57 | 25.8 | 60.1 | 1 | 1 | 24.95 | 24.53 | -31.61 | -31.29 | 26.34 | 26.34 | 26.17 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.9 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.8 | 0 | 0 | 0.93 | 50 | 0 | 226.7 | 0.1 | 9.5 | 8.87 | 50 | 0.4 | 226.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 2.38 | 21.9 | 82.7 | 909 | 40.4
2026-10-15 01:00:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.26 | 23.82 | -2.84 | -7.42 | 28.58 | 28.39 | 27.27 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.67 | 25.9 | 59.67 | 25.9 | 60.2 | 1 | 1 | 24.8 | 24.49 | -31.7 | -31.58 | 26.33 | 26.29 | 26.12 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.8 | 0.11 | 11 | 9.82 | 50 | 0.44 | 226.7 | 0 | 0 | 0.93 | 50 | 0 | 226.8 | 0.1 | 9.3 | 8.87 | 50 | 0.39 | 226.7 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.6 | 0 | 0 | 5.08 | 50 | 0 | 1.62 | 21.8 | 82.9 | 909 | 66.2
2026-10-15 01:01:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.12 | 23.81 | -3 | -7.36 | 28.62 | 28.32 | 27.24 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.67 | 25.9 | 59.67 | 25.9 | 60.31 | 1 | 1 | 24.98 | 24.49 | -31.49 | -31.43 | 26.35 | 26.3 | 26.18 | 0 | 0 | 0.1 | 0 | 0 | 0 | 226.9 | 0.11 | 10.9 | 9.82 | 50 | 0.44 | 226.7 | 0 | 0 | 0.93 | 49.9 | 0 | 226.8 | 0.11 | 9.7 | 8.87 | 50 | 0.4 | 226.8 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 4.86 | 21.8 | 82.7 | 909 | 40.9
2026-10-15 01:02:00 | 1 | 26 | 1 | 0 | [16 empty] | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | 3.12 | [8 empty] | 29.17 | 23.84 | -3.09 | -7.42 | 28.6 | 28.27 | 27.19 | [6 empty] | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 3.05 | 25.9 | 59.57 | 25.8 | 59.67 | 25.8 | 60.2 | 1 | 1 | 24.89 | 24.49 | -31.61 | -32.29 | 26.37 | 26.3 | 26.16 | 0 | 0 | 0.1 | 0 | 0 | 0 | 227 | 0.11 | 11 | 9.82 | 50 | 0.43 | 226.7 | 0 | 0 | 0.93 | 50 | 0 | 226.9 | 0.11 | 9.7 | 8.87 | 50 | 0.4 | 226.9 | 0 | 0 | 11.38 | 50 | 0 |  | 0 | 0 | 0 | 0 | 0 | 226.7 | 0 | 0 | 5.08 | 50 | 0 | 2.12 | 21.8 | 82.8 | 909 | 37

## Summary
AUTO SHADING UPI - SENSOR REPORT SUMMARY
From | 2026-10-15 00:00:00 | To | 2026-10-15 23:59:59 | Data interval | 30 seconds
MIN / AVG / MAX / COUNT below are calculated from raw module-table samples. Only the Data/Charts time series uses the automatic interval.
Gateway | Sensor Code | Sensor Name | Unit | Minimum | Average | Maximum | Count
AC-REMOTE-01 | AC-POWER | AC Power State | state | 1 | 1 | 1 | 63
AC-REMOTE-01 | AC-SETPOINT | AC Set Temperature | °C | 26 | 26 | 26 | 63
AC-REMOTE-01 | AC-MODE | AC Operating Mode | code | 1 | 1 | 1 | 63
AC-REMOTE-01 | AC-FAN | AC Fan Speed | code | 0 | 0 | 0 | 63
ACT-MOD-01 | ENC-01 | Rotary Encoder 1 | %
ACT-MOD-01 | ENC-02 | Rotary Encoder 2 | %
ACT-MOD-01 | ENC-03 | Rotary Encoder 3 | %
ACT-MOD-01 | ENC-04 | Rotary Encoder 4 | %
ACT-MOD-01 | ENC-05 | Rotary Encoder 5 | %
ACT-MOD-01 | ENC-06 | Rotary Encoder 6 | %
ACT-MOD-01 | ENC-07 | Rotary Encoder 7 | %
ACT-MOD-01 | ENC-08 | Rotary Encoder 8 | %
ACT-MOD-01 | MOTOR-01 | Motor Status 1 | state
ACT-MOD-01 | MOTOR-02 | Motor Status 2 | state
ACT-MOD-01 | MOTOR-03 | Motor Status 3 | state
ACT-MOD-01 | MOTOR-04 | Motor Status 4 | state
ACT-MOD-01 | MOTOR-05 | Motor Status 5 | state
ACT-MOD-01 | MOTOR-06 | Motor Status 6 | state
ACT-MOD-01 | MOTOR-07 | Motor Status 7 | state
ACT-MOD-01 | MOTOR-08 | Motor Status 8 | state
MB-L3-01 | L3-AI-01 | Analog Input 1 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-AI-02 | Analog Input 2 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-AI-03 | Analog Input 3 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-AI-04 | Analog Input 4 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-AI-05 | Analog Input 5 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-AI-06 | Analog Input 6 | V | 3.12 | 3.12 | 3.12 | 63
MB-L3-01 | L3-SHT-01-T | SHT20 1 Temperature | °C
MB-L3-01 | L3-SHT-01-RH | SHT20 1 Humidity | %RH
MB-L3-01 | L3-SHT-02-T | SHT20 2 Temperature | °C
MB-L3-01 | L3-SHT-02-RH | SHT20 2 Humidity | %RH
MB-L3-01 | L3-SHT-03-T | SHT20 3 Temperature | °C
MB-L3-01 | L3-SHT-03-RH | SHT20 3 Humidity | %RH
MB-L3-01 | L3-RAD-01 | Radiation 1 | W/m²
MB-L3-01 | L3-RAD-02 | Radiation 2 | W/m²
MB-L3-01 | L3-ST-01 | Surface Temperature 1 | °C | 29.12 | 29.48 | 29.72 | 63
MB-L3-01 | L3-ST-02 | Surface Temperature 2 | °C | 23.81 | 24.2 | 24.47 | 63
MB-L3-01 | L3-HFT-01 | Heat Flow 1 | W/m² | -3.88 | -1.98 | 0.19 | 63
MB-L3-01 | L3-HFT-02 | Heat Flow 2 | W/m² | -7.42 | -5.81 | -4.46 | 63
MB-L3-01 | L3-BGT-01 | Black Globe Temperature 1 | °C | 28.58 | 28.75 | 28.92 | 63
MB-L3-01 | L3-BGT-02 | Black Globe Temperature 2 | °C | 28.27 | 28.41 | 28.52 | 63
MB-L3-01 | L3-BGT-03 | Black Globe Temperature 3 | °C | 27.19 | 27.33 | 27.48 | 63
MB-L3-01 | L3-LUX-01 | Illuminance / LUX 1 | lux
MB-L3-01 | L3-LUX-02 | Illuminance / LUX 2 | lux
MB-L3-01 | L3-LUX-03 | Illuminance / LUX 3 | lux
MB-L3-01 | L3-LUX-04 | Illuminance / LUX 4 | lux
MB-L3-01 | L3-LUX-05 | Illuminance / LUX 5 | lux
MB-L3-01 | L3-LUX-06 | Illuminance / LUX 6 | lux
MB-L5-01 | L5-AI-01 | Analog Input 1 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-AI-02 | Analog Input 2 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-AI-03 | Analog Input 3 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-AI-04 | Analog Input 4 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-AI-05 | Analog Input 5 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-AI-06 | Analog Input 6 | V | 3.05 | 3.05 | 3.05 | 63
MB-L5-01 | L5-SHT-01-T | SHT20 1 Temperature | °C | 25.9 | 25.98 | 26.1 | 63
MB-L5-01 | L5-SHT-01-RH | SHT20 1 Humidity | %RH | 59.24 | 59.5 | 59.78 | 63
MB-L5-01 | L5-SHT-02-T | SHT20 2 Temperature | °C | 25.8 | 25.97 | 26.1 | 63
MB-L5-01 | L5-SHT-02-RH | SHT20 2 Humidity | %RH | 59.24 | 59.44 | 59.67 | 63
MB-L5-01 | L5-SHT-03-T | SHT20 3 Temperature | °C | 25.7 | 25.87 | 26 | 63
MB-L5-01 | L5-SHT-03-RH | SHT20 3 Humidity | %RH | 59.67 | 59.97 | 60.31 | 63
MB-L5-01 | L5-RAD-01 | Radiation 1 | W/m² | 1 | 1 | 1 | 63
MB-L5-01 | L5-RAD-02 | Radiation 2 | W/m² | 1 | 1 | 1 | 63
MB-L5-01 | L5-ST-01 | Surface Temperature 1 | °C | 24.8 | 25.1 | 25.27 | 63
MB-L5-01 | L5-ST-02 | Surface Temperature 2 | °C | 24.49 | 24.78 | 24.98 | 63
MB-L5-01 | L5-HFT-01 | Heat Flow 1 | W/m² | -31.7 | -30.28 | -29.25 | 63
MB-L5-01 | L5-HFT-02 | Heat Flow 2 | W/m² | -32.29 | -30.23 | -29.12 | 63
MB-L5-01 | L5-BGT-01 | Black Globe Temperature 1 | °C | 26.3 | 26.4 | 26.53 | 63
MB-L5-01 | L5-BGT-02 | Black Globe Temperature 2 | °C | 26.2 | 26.35 | 26.47 | 63
MB-L5-01 | L5-BGT-03 | Black Globe Temperature 3 | °C | 26.1 | 26.23 | 26.36 | 63
MB-L5-01 | L5-LUX-01 | Illuminance / LUX 1 | lux | 0 | 0 | 0 | 63
MB-L5-01 | L5-LUX-02 | Illuminance / LUX 2 | lux | 0 | 0 | 0 | 63
MB-L5-01 | L5-LUX-03 | Illuminance / LUX 3 | lux | 0 | 0.1 | 0.1 | 63
MB-L5-01 | L5-LUX-04 | Illuminance / LUX 4 | lux | 0 | 0 | 0 | 63
MB-L5-01 | L5-LUX-05 | Illuminance / LUX 5 | lux | 0 | 0 | 0 | 63
MB-L5-01 | L5-LUX-06 | Illuminance / LUX 6 | lux | 0 | 0 | 0 | 63
Sensor Mainboard L3 | PZEM-L3-01-VOLT | PZEM L3-01 Voltage | V | 225.8 | 226.48 | 227 | 63
Sensor Mainboard L3 | PZEM-L3-01-CURR | PZEM L3-01 Current | A | 0.11 | 0.11 | 0.11 | 63
Sensor Mainboard L3 | PZEM-L3-01-POWER | PZEM L3-01 Active Power | W | 10.7 | 10.92 | 11.1 | 63
Sensor Mainboard L3 | PZEM-L3-01-ENERGY | PZEM L3-01 Energy | kWh | 9.81 | 9.82 | 9.82 | 63
Sensor Mainboard L3 | PZEM-L3-01-FREQ | PZEM L3-01 Frequency | Hz | 49.9 | 49.97 | 50 | 63
Sensor Mainboard L3 | PZEM-L3-01-PF | PZEM L3-01 Power Factor |  | 0.42 | 0.43 | 0.45 | 63
Sensor Lampu L3 | PZEM-L3-02-VOLT | PZEM L3-02 Voltage | V | 225.6 | 226.3 | 226.8 | 63
Sensor Lampu L3 | PZEM-L3-02-CURR | PZEM L3-02 Current | A | 0 | 0 | 0 | 63
Sensor Lampu L3 | PZEM-L3-02-POWER | PZEM L3-02 Active Power | W | 0 | 0 | 0 | 63
Sensor Lampu L3 | PZEM-L3-02-ENERGY | PZEM L3-02 Energy | kWh | 0.93 | 0.93 | 0.93 | 63
Sensor Lampu L3 | PZEM-L3-02-FREQ | PZEM L3-02 Frequency | Hz | 49.9 | 49.97 | 50 | 63
Sensor Lampu L3 | PZEM-L3-02-PF | PZEM L3-02 Power Factor |  | 0 | 0 | 0 | 63
Sensor Mainboard L5 | PZEM-L5-01-VOLT | PZEM L5-01 Voltage | V | 225.8 | 226.42 | 226.9 | 63
Sensor Mainboard L5 | PZEM-L5-01-CURR | PZEM L5-01 Current | A | 0.1 | 0.11 | 0.11 | 63
Sensor Mainboard L5 | PZEM-L5-01-POWER | PZEM L5-01 Active Power | W | 9 | 9.5 | 10 | 63
Sensor Mainboard L5 | PZEM-L5-01-ENERGY | PZEM L5-01 Energy | kWh | 8.86 | 8.87 | 8.87 | 63
Sensor Mainboard L5 | PZEM-L5-01-FREQ | PZEM L5-01 Frequency | Hz | 49.9 | 49.97 | 50 | 63
Sensor Mainboard L5 | PZEM-L5-01-PF | PZEM L5-01 Power Factor |  | 0.38 | 0.4 | 0.41 | 63
Sensor Lampu L5 | PZEM-L5-02-VOLT | PZEM L5-02 Voltage | V | 225.7 | 226.37 | 226.9 | 63
Sensor Lampu L5 | PZEM-L5-02-CURR | PZEM L5-02 Current | A | 0 | 0 | 0 | 63
Sensor Lampu L5 | PZEM-L5-02-POWER | PZEM L5-02 Active Power | W | 0 | 0 | 0 | 63
Sensor Lampu L5 | PZEM-L5-02-ENERGY | PZEM L5-02 Energy | kWh | 11.38 | 11.38 | 11.38 | 63
Sensor Lampu L5 | PZEM-L5-02-FREQ | PZEM L5-02 Frequency | Hz | 49.9 | 49.97 | 50 | 63
Sensor Lampu L5 | PZEM-L5-02-PF | PZEM L5-02 Power Factor |  | 0 | 0 | 0 | 63
Sensor Actuator L5 | PZEM-L5-03-VOLT | PZEM L5-03 Voltage | V
Sensor Actuator L5 | PZEM-L5-03-CURR | PZEM L5-03 Current | A | 0 | 0 | 0 | 63
Sensor Actuator L5 | PZEM-L5-03-POWER | PZEM L5-03 Active Power | W | 0 | 0 | 0 | 63
Sensor Actuator L5 | PZEM-L5-03-ENERGY | PZEM L5-03 Energy | kWh | 0 | 0 | 0 | 63
Sensor Actuator L5 | PZEM-L5-03-FREQ | PZEM L5-03 Frequency | Hz | 0 | 0 | 0 | 63
Sensor Actuator L5 | PZEM-L5-03-PF | PZEM L5-03 Power Factor |  | 0 | 0 | 0 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-VOLT | PZEM L5-04 Voltage | V | 225.6 | 226.25 | 226.7 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-CURR | PZEM L5-04 Current | A | 0 | 0 | 0 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-POWER | PZEM L5-04 Active Power | W | 0 | 0 | 0 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-ENERGY | PZEM L5-04 Energy | kWh | 5.08 | 5.08 | 5.08 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-FREQ | PZEM L5-04 Frequency | Hz | 49.9 | 49.97 | 50 | 63
Sensor Pendingin Ruangan | PZEM-L5-04-PF | PZEM L5-04 Power Factor |  | 0 | 0 | 0 | 63
WS-MOD-01 | WS-WIND | Kecepatan Angin | m/s | 0.13 | 1.81 | 4.86 | 63
WS-MOD-01 | WS-TEMP | Suhu Udara | °C | 21.8 | 22.22 | 22.9 | 63
WS-MOD-01 | WS-RH | Kelembapan Udara | %RH | 74.8 | 79.46 | 82.9 | 63
WS-MOD-01 | WS-PRES | Tekanan Udara | hPa | 909 | 909.38 | 910 | 63
WS-MOD-01 | WS-DIR | Arah Angin | ° | 1.3 | 91.33 | 359.4 | 63

## Charts
AUTO SHADING UPI - SENSOR TREND CHARTS
Charts use the same automatic interval shown in Summary.